## Sheet2
Sl. No | Name of Health Institution | ME Name | Manufacturer | Department
1 | SDH Akhnoor | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | LABOUR ROOM-Ground Floor
2 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | Meditech Life system | 1st Floor- Labour Room
3 | SDH Akhnoor | Electrocardiographs, Single-Channel ( Single Channel ECG ) | BPL | CASUALITY
4 | SDH Akhnoor | Refrigerators, Laboratory (Lab refrigerator) | Samsung | OT
5 | SDH Akhnoor | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECHMEDICALSYSTEMPVTLTD | LABOUR ROOM-Ground Floor
6 | SDH Akhnoor | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Doctor Beliram and sons | Physiotherapy
7 | SDH Akhnoor | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Bhaseen Health Product | Lab Section
8 | SDH Akhnoor | Radiographic/Fluoroscopic Systems, General-Purpose -300 mA (General X Ray - 300mA) | Allengers | RADIOLOGY
9 | SDH Akhnoor | Centrifuges, Tabletop (Centrifuge) | Remi | General Lab
10 | SDH Akhnoor | Scales, Infant, Mechanical (Infant wieghing machine) | Docbel barun | OT
11 | SDH Akhnoor | Lights, Surgical, 2 Dome, Halogen (2 Dome Halogen OT Light) | Confident dental equipment | OT
12 | SDH Akhnoor | Aspirators (Suction Machine) | NA | Labour Room
13 | SDH Akhnoor | Anesthesia Units Work Station (Anesthesia work station) | Avasarala technologies ltd | OT
14 | SDH Akhnoor | Anesthesia Units Work Station (Anesthesia work station) | Avasarala technologies ltd | OT
15 | SDH Akhnoor | Sterilizing Units, Steam, B- Type ( B Type Autoclave ) | Confident dental equipment | Dental Section
16 | SDH Akhnoor | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NA | OPD
17 | SDH Akhnoor | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NA | OT
18 | SDH Akhnoor | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NA | CASUALITY
19 | SDH Akhnoor | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NA | OPD
20 | SDH Akhnoor | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Diamond | 1st Floor- Labour Room
21 | SDH Akhnoor | Sphygmomanometers, Electronic (Electronic BP Machine) | HICKS | LABOUR ROOM
22 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | GYNAE
23 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | GENERAL OPD
24 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix | Ground Floor-Genral Ward
25 | SDH Akhnoor | Electrosurgical Units (Cautery Machine) | Covidien | OT
26 | SDH Akhnoor | Electrosurgical Units (Cautery Machine) | Medichem Electronics | OT
27 | SDH Akhnoor | Electrosurgical Units (Cautery Machine) | Diviabs health care Pvt Ltd | OT
28 | SDH Akhnoor | Centrifuges, Tabletop (Centrifuge) | Remi | LAB SECTION
29 | SDH Akhnoor | Defibrillators, External, Manual (Defibrillator) | BPL | OT
30 | SDH Akhnoor | Defibrillators, External, Manual (Defibrillator) | BPL | FIRST FLOOR
31 | SDH Akhnoor | Electrocardiographs, Single-Channel ( Single Channel ECG ) | BPL | RADIOLOGY
32 | SDH Akhnoor | Electrocardiographs, Three-Channel ( 3 Channel ECG) | Hemodiaz Life Science Pvt Ltd | 1st Floor- ECG Room
33 | SDH Akhnoor | Electrocardiographs, Twelve-Channel ( 12 Channel ECG) | Nihon Kohden | ECG GROUND FLOOR
34 | SDH Akhnoor | Electrocardiographs, Twelve-Channel ( 12 Channel ECG) | Allengers | RADIOLOGY
35 | SDH Akhnoor | Oximeters, Pulse, tabletop(Tabletop Pulse Oximeter) | Riransa Inc. Heath care P.ltd | OT
36 | SDH Akhnoor | Refrigerators, Blood Bank (Blood bank Refrigerator) | Remi | LAB SECTION
37 | SDH Akhnoor | Refrigerators, Ice Lined-200L ( 200L ILR ) | Vestfrost | Immunization Section
38 | SDH Akhnoor | Refrigerators, Ice Lined-200L ( 200L ILR ) | Vestfrost | Immunization Section
39 | SDH Akhnoor | Refrigerators, Ice Lined-200L ( 200L ILR ) | Vestfrost | Immunization Section
40 | SDH Akhnoor | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | Immunization Section
41 | SDH Akhnoor | Refrigerators, Laboratory (Lab refrigerator) | Samsung | LAB SECTION
42 | SDH Akhnoor | Refrigerators, Laboratory (Lab refrigerator) | Godrej | LABOUR ROOM
43 | SDH Akhnoor | Refrigerators, Laboratory (Lab refrigerator) | NA | LAB SECTION
44 | SDH Akhnoor | Baths, Water, Laboratory (Water Bath) | NA | General Lab
45 | SDH Akhnoor | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | S.S technomed | Ground Fl - Labour Room
46 | SDH Akhnoor | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | S.S technomed | GYANE OPD
47 | SDH Akhnoor | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | S.S technomed | Labour Room
48 | SDH Akhnoor | Infusion Pumps, Syringe (Syringe Pump) | Fresenius Kabi India Pvt. Ltd | OT
49 | SDH Akhnoor | Infusion Pumps, Syringe (Syringe Pump) | Riransa Inc. Heath care P.ltd | OT
50 | SDH Akhnoor | Infusion Pumps, Syringe (Syringe Pump) | Fresenius Kabi India Pvt. Ltd | OT
51 | SDH Akhnoor | Lights, Surgical, 1 Dome, Halogen (1 Dome Halogen OT Light) | Confident dental equipment | EYE OT
52 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | LABOUR ROOM-Ground Floor
53 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | Airsep Corporation | OT
54 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | NA | OT
55 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | Airsep Corporation | OPD
56 | SDH Akhnoor | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Skanray Healthcare | OT
57 | SDH Akhnoor | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Contec Medical System | OT
58 | SDH Akhnoor | Aspirators (Suction Machine) | NA | LABOUR ROOM
59 | SDH Akhnoor | Aspirators (Suction Machine) | Anand surgical industries | OT
60 | SDH Akhnoor | Aspirators (Suction Machine) | NA | OT
61 | SDH Akhnoor | Aspirators (Suction Machine) | Anand surgical industries | CAUSALITY
62 | SDH Akhnoor | Aspirators (Suction Machine) | Esteem Industries Inc | Ot 2nd floor
63 | SDH Akhnoor | Aspirators (Suction Machine) | Mehar | OT
64 | SDH Akhnoor | Aspirators (Suction Machine) | NA | Labour Room
65 | SDH Akhnoor | Aspirators (Suction Machine) | Anand surgical industries | CASUALITY
66 | SDH Akhnoor | Radiographic Units, Dental, Extraoral (Dental X Ray) | Technomac | Dental Section
67 | SDH Akhnoor | Radiographic Units, Mobile (Mobile X Ray -60 mA) | Allengers | RADIOLOGY
68 | SDH Akhnoor | Anesthesia Units, Boyles (Boyles Apparatus) | Allied medical | Jammu-Choki Choura CHC-OT
69 | SDH Akhnoor | Analyzers, Laboratory, Clinical chemistry, Manual (Semi auto analyzer) | Trivitron Health Care | Laboratory Ground floor
70 | SDH Akhnoor | Analyzers, Laboratory, Clinical Chemistry, Automated-100 T/H (100 Throughput Auto Analyzer) | Meril | LAB SECTION
71 | SDH Akhnoor | Analyzers, Laboratory, Clinical Chemistry, Automated-200 T/H (200 Throughput Auto Analyzer) | Vector Biotech Pvt Ltd | Laboratory Ground floor
72 | SDH Akhnoor | Analyzers, Laboratory, Hematology, Cell Counting, Automated(5 Part Blood Cell counter) | ERBA MANNHEIN | Laboratory Ground floor
73 | SDH Akhnoor | Analyzers, Laboratory, Hematology, WBC, Point of care(5 Part WBC Point of care) | Hemocue | LAB SECTION
74 | SDH Akhnoor | Auto Refractometer (Auto Refractometer) | Potec | OPD
75 | SDH Akhnoor | Mixers, Blood Tube(Blood Mixer) | Transasia Biomedical LTD | Laboratory Ground floor
76 | SDH Akhnoor | Scanning systems, ultrasonic, Portable (Portable ultrasound Scanner) | BPL | Samba-Nandpur PHC-Ultrasound Section
77 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | DENTAL
78 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | Labour Room
79 | SDH Akhnoor | Traction Unit (Traction Unit) | Physiotech India | Physiotherapy
80 | SDH Akhnoor | Ultrasonic Surgical Cutter/Coagulators ( Harmonic Ultrasonic Surgical Unit) | Ethicon Endo Surgery | OT
81 | SDH Akhnoor | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Bioplus | 1st Floor- Labour Room
82 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | Doctor Lee Safe | Emergency
83 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | EMERGENCY/GROUND FLOOR
84 | SDH Akhnoor | Centrifuges, Tabletop (Centrifuge) | Laby Instruments | Gen Lab
85 | SDH Akhnoor | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Mediwaves inc | OT
86 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | GYNAE
87 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | Aspen Diagnostics Pvt Ltd | LABOUR ROOM
88 | SDH Akhnoor | Infusion Pumps, Syringe (Syringe Pump) | Riransa Inc. Heath care P.ltd | OT
89 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | NA | Labour Room
90 | SDH Akhnoor | Nebulizers, Nonheated (Nebulizer) | NA | CAUSALITY
91 | SDH Akhnoor | Nebulizers, Nonheated (Nebulizer) | NA | EMERGENCY
92 | SDH Akhnoor | Nebulizers, Nonheated (Nebulizer) | NA | EMERGENCY
93 | SDH Akhnoor | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | Lab Section
94 | SDH Akhnoor | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | LAB SECTION
95 | SDH Akhnoor | Phototherapy Units, Ultraviolet,CFL (CFL Infant Phototherapy) | GE Medical System | LABOUR ROOM
96 | SDH Akhnoor | Phototherapy Units, Ultraviolet,CFL (CFL Infant Phototherapy) | NA | LABOUR ROOM
97 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | Meditech Life system | GENERAL OPD
98 | SDH Akhnoor | Insufflator Laproscopic( Endoflator) | NA | EYE OT
99 | SDH Akhnoor | Nebulizers, Nonheated (Nebulizer) | NA | CAUSALITY
100 | SDH Akhnoor | Nebulizers, Nonheated (Nebulizer) | NA | EMERGENCY
101 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | LAB SECTION
102 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Sheetal Tec | LABOUR ROOM
103 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | NA | Emergency
104 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | NA | emergency
105 | SDH Akhnoor | Nebulizers, Nonheated (Nebulizer) | NA | OT
106 | SDH Akhnoor | Tables, Operating Electrical (OT Table Electrical) | NA | OT
107 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | OPD
108 | SDH Akhnoor | Intraoral RVG Sensor | Confident Dental Equipment Ltd | DENTAL OPD
109 | SDH Akhnoor | Aspirators (Suction Machine) | Anand surgical industries | Ot 2nd floor
110 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Dental Section
111 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
112 | SDH Akhnoor | Sphygmomanometers, Aneroid(Aneroid BP Machine) | HICKS | Emergency
113 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | LABOUR ROOM
114 | SDH Akhnoor | Aspirators (Suction Machine) | Anand Surgical Co | Labour Room-Labour Room
115 | SDH Akhnoor | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | LAB SECTION
116 | SDH Akhnoor | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | Immunization
117 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | BPL | LABOUR ROOM
118 | SDH Akhnoor | Digital Imaging Systems, Computed Radiography-Single Slot (1 Slot CR Machine) | Fujifilm corporation | 1St Floor-Radiology
119 | SDH Akhnoor | Laser Imager with Three Tray ( 3 Tray Laser Imager ) | Fujifilm corporation | RADIOLOGY
120 | SDH Akhnoor | Monitoring Systems, Physiologic with 7 Parameters (7 Para Patient Monitor) | Edan | Eyes ot
121 | SDH Akhnoor | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Niscomed | Emergency
122 | SDH Akhnoor | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Niscomed | Emergency
123 | SDH Akhnoor | Centrifuges, Tabletop (Centrifuge) | Laby Instruments | Gen Lab
124 | SDH Akhnoor | Analyzers, Laboratory, Blood Gas/PH (Blood Gas Analyser) | Abbott Healthcare | LAB SECTION
125 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | GYNAE
126 | SDH Akhnoor | Fumigation Unit (Fumigation Machine) | Gouri engg. Pvt ltd | EYE OT
127 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | OT
128 | SDH Akhnoor | Laparoscope Set ( Laparoscope Set ) | Stryker | OT
129 | SDH Akhnoor | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Confident dental equipment | Dental Section
130 | SDH Akhnoor | View Boxes, X-Ray (X ray Film viewer) | NA | RADIOLOGY
131 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | EYE OPD
132 | SDH Akhnoor | Microscopes, Light, Operating (Operating Microscope) | Bino Scientific | Shift-Poonch DH
133 | SDH Akhnoor | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | LAB SECTION
134 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | OPD
135 | SDH Akhnoor | Microscopes, Light, Laboratory (Binocular Microscope) | NA | LAB SECTION
136 | SDH Akhnoor | Tables, Operating Electrical (OT Table Electrical) | NA | EYE OT
137 | SDH Akhnoor | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | LABOUR ROOM-Ground Floor
138 | SDH Akhnoor | Scalers, Dental, Ultrasonic(Ultrasonic Scaler) | Guilin woodpecker instruments | DENTAL
139 | SDH Akhnoor | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | Immunization Section
140 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Life care | LAB SECTION
141 | SDH Akhnoor | Laparoscope Set ( Laparoscope Set ) | Stryker | OT
142 | SDH Akhnoor | Microscopes, Light, Laboratory (Binocular Microscope) | Labovision | Lab Section
143 | SDH Akhnoor | Heating Units, Hot-Pack ( Hydroculator ) | NA | Physiotherapy
144 | SDH Akhnoor | Electrocardiographs, Single-Channel ( Single Channel ECG ) | Contec Medical System | ECG Section
145 | SDH Akhnoor | Tables, Operating Electrical (OT Table Electrical) | Staan biomedical engineering p | OT (general)
146 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | Labour Room
147 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | Pagoda | DENTAL GROUND FLOOR
148 | SDH Akhnoor | Monitoring Systems, Physiologic with 7 Parameters (7 Para Patient Monitor) | Edan | OT GROUND FLOOR
149 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | OT
150 | SDH Akhnoor | Microscopes, Light, Operating (Operating Microscope) | Bino Scientific | EYE OT
151 | SDH Akhnoor | Microscopes, Light, Operating (Operating Microscope) | Bino Scientific | EYE OT
152 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | EYE OT
153 | SDH Akhnoor | Laparoscope Set ( Laparoscope Set ) | Stryker | OT (general)
154 | SDH Akhnoor | Tables, Operating Hydraulic (OT Table Hydraulic) | Arko | OT
155 | SDH Akhnoor | Tables, Operating Electrical (OT Table Electrical) | Surgicoin | EYE OT
156 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | OT
157 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | LABOUR ROOM
158 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | NA | CAUSALITY
159 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Lab Section
160 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | NA | FIRST FLOOR
161 | SDH Akhnoor | Stimulators, Electrical, IFT - 4 Channel ( 4 Channel IFT ) | NA | Physiotherapy
162 | SDH Akhnoor | Lights, Dental, Intraoral ( Light Cure Unit ) | Apoza enterprises co . Ltd. | Dental Section
163 | SDH Akhnoor | Lights, Surgical - 2 Dome - LED(2 Dome LED Surgical OT Light) | Cognate India | OT
164 | SDH Akhnoor | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OT
165 | SDH Akhnoor | Refrigerators, Blood Bank (Blood bank Refrigerator) | Remi | LAB SECTION
166 | SDH Akhnoor | Aspirators (Suction Machine) | Suz- dent India Pvt Ltd | Dental
167 | SDH Akhnoor | Refrigerators, Laboratory (Lab refrigerator) | Godrej | LAB SECTION
168 | SDH Akhnoor | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix | 1st Floor- Labour Room
169 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | Emergency
170 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | emergency
171 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | Emergency
172 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH | Emergency
173 | SDH Akhnoor | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | Emergency
174 | SDH Akhnoor | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Dental Section
175 | SDH Akhnoor | Lights, Surgical - 1 Dome - LED(1 Dome LED Surgical OT Light) | Cognate India | Shift-Jagti SDH
176 | SDH Akhnoor | Anesthesia Units Work Station (Anesthesia work station) | Avasarala technologies ltd | OT
177 | SDH Akhnoor | Scanning Systems, Ultrasonic, General-Purpose ( Ultrasound Scanner ) | SS Medical System | Ground Floor - Ultrasound Room
178 | SDH Akhnoor | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Mediwaves inc | Labour Room
179 | CHC Jourian | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt Ltd | Store
180 | CHC Jourian | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Electronic corporationof India | General lab
181 | CHC Jourian | Aspirators (Suction Machine) | Anand medicaids Pvt. Ltd | Labour room
182 | CHC Jourian | Aspirators (Suction Machine) | NA | OPD
183 | CHC Jourian | Oxygen Concentrators (Oxygen Concentrator) | Aspen Diagnostics Pvt Ltd | General ward
184 | CHC Jourian | Lights, Surgical, 1 Dome, Halogen (1 Dome Halogen OT Light) | NA | Labour room
185 | CHC Jourian | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Mediwaves inc | Labour room
186 | CHC Jourian | Refrigerators, Laboratory (Lab refrigerator) | Electrolux kelvinator | General lab
187 | CHC Jourian | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | Immunization section
188 | CHC Jourian | Electrocardiographs, Three-Channel ( 3 Channel ECG) | Clarity medical Pvt. Ltd. | Ecg section
189 | CHC Jourian | Electrocardiographs, Three-Channel ( 3 Channel ECG) | SHENZEN UNICARE ELECTRONIC | RADIOLOGY
190 | CHC Jourian | Centrifuges, Tabletop (Centrifuge) | Laby Instruments | General lab
191 | CHC Jourian | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
192 | CHC Jourian | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
193 | CHC Jourian | Sphygmomanometers, Electronic (Electronic BP Machine) | Medsource OzoneBiomedicals P.L | OPD
194 | CHC Jourian | Sterilizing Units, Steam (Autoclave Vertical) | Geeta Industries | OPD
195 | CHC Jourian | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | Immunization section
196 | CHC Jourian | Aspirators (Suction Machine) | NA | Labour room
197 | CHC Jourian | Aspirators (Suction Machine) | NA | OPD
198 | CHC Jourian | Intraoral RVG Sensor | Dentsply | "DENTAL SECTION
199 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
200 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Labour room
201 | CHC Jourian | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Confident dental equipment | Dental section
202 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Immunization section
203 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
204 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
205 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
206 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
207 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
208 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
209 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
210 | CHC Jourian | Radiographic Units, Dental, Extraoral (Dental X Ray) | Confident dental equipment | Radiology
211 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
212 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
213 | CHC Jourian | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt Ltd | Store
214 | CHC Jourian | Tables, Operating Hydraulic (OT Table Hydraulic) | NA | Labour room
215 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | General ward
216 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Store
217 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | Labour room
218 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
219 | CHC Jourian | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt Ltd | Store
220 | CHC Jourian | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | Store
221 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
222 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
223 | CHC Jourian | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | General lab
224 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
225 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
226 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | Dental section
227 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Store
228 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | NA | OPD
229 | CHC Jourian | Microscopes, Light, Laboratory (Binocular Microscope) | Labovision | General lab
230 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Store
231 | CHC Jourian | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | Causality
232 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Store
233 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Store
234 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Store
235 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
236 | CHC Jourian | Nebulizers, Nonheated (Nebulizer) | NA | OPD
237 | CHC Jourian | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Store
238 | CHC Jourian | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | Immunization section
239 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | General lab
240 | CHC Jourian | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Store
241 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
242 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Store
243 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
244 | CHC Jourian | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
245 | CHC Jourian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
246 | CHC Jourian | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Store
247 | PHC Mera Mandrian | Cutters, Syringe/Needle (Syringe cutter) | Kohli surgical | Ground Floor-Genral Ward
248 | PHC Mera Mandrian | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NA | Ground Floor-Genral Ward
249 | PHC Mera Mandrian | Sphygmomanometers, Mercury (Mercury BP Machine) | Meditech Industries | DISPENCARY
250 | PHC Mera Mandrian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | GENERAL LAB
251 | PHC Mera Mandrian | Sterilizing Units(Instrument Sterilizer) | NA | DISPENSARY
252 | PHC Mera Mandrian | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | GENERAL LAB
253 | PHC Mera Mandrian | Nebulizers, Nonheated (Nebulizer) | Prolix supreme surgico | DISPENSARY
254 | PHC Mera Mandrian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DISPENSARY
255 | PHC Mera Mandrian | Centrifuges, Tabletop (Centrifuge) | Remi | GENERAL LAB
256 | PHC Mera Mandrian | Aspirators (Suction Machine) | NA | LABOUR ROOM
257 | PHC Mera Mandrian | Refrigerators, Laboratory (Lab refrigerator) | Electrolux kelvinator | DISPENSARY
258 | PHC Mera Mandrian | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | IMMUNIZATION SECTION
259 | PHC Mera Mandrian | Radiographic Units, Mobile (Mobile X Ray -60 mA) | Siemens | RADIOLOGY
260 | PHC Mera Mandrian | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | IMMUNIZATION SECTION
261 | PHC Mera Mandrian | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Bio-plus | LABOUR ROOM
262 | PHC Mera Mandrian | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | DISPENSARY
263 | PHC Mera Mandrian | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | CASUALITY
264 | PHC Mera Mandrian | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | OPD
265 | PHC Mera Mandrian | Oxygen Concentrators (Oxygen Concentrator) | Medical oxygen concentrator | Genral Ward/Ground Floor
266 | PHC Mera Mandrian | Nebulizers, Nonheated (Nebulizer) | Dr Morepen | Ground Floor-Genral Ward
267 | PHC Mera Mandrian | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | General Store-Ground Floor
268 | PHC Mera Mandrian | Microscopes, Light, Laboratory (Binocular Microscope) | NA | GENERAL LAB
269 | PHC Mera Mandrian | Scales, Infant, Mechanical (Infant wieghing machine) | Ramon Surgical Company | Ground Floor-Genral Ward
270 | PHC Mera Mandrian | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | DENTAL SECTION
271 | PHC Mera Mandrian | Aspirators (Suction Machine) | Anand surgical industries | LABOUR ROOM
272 | PHC Mera Mandrian | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | Ground Floor-Genral Ward
273 | PHC Mera Mandrian | Digital Imaging Systems, Computed Radiography-Single Slot (1 Slot CR Machine) | Carestream Health Care | Ground Floor - Radiology
274 | PHC Mera Mandrian | Laser Imager with Single Tray ( 1 Tray Laser Imager ) | Carestream Health | X RAY SECTION
275 | PHC Mera Mandrian | Cutters, Syringe/Needle (Syringe cutter) | Microsil | IMMUNIZATION SECTION
276 | PHC Mera Mandrian | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | IMMUNIZATION SECTION
277 | PHC Mera Mandrian | Refrigerators, Ice Lined-150L ( 150L ILR ) | Godrej | Ground Floor - Immunisation Room
278 | NTPHC DEVIPUR | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | GENERAL OPD
279 | NTPHC GURAH TALAB | Sterilizing Units(Instrument Sterilizer) | NA | OPD
280 | NTPHC GURAH TALAB | Refrigerators, Laboratory (Lab refrigerator) | Electrolux kelvinator | OPD
281 | NTPHC GURAH TALAB | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Crown | OPD
282 | NTPHC GURAH TALAB | Nebulizers, Nonheated (Nebulizer) | Morepen lab. Ltd | OPD
283 | NTPHC GURAH TALAB | Sphygmomanometers, Mercury (Mercury BP Machine) | Blue Cross | OPD
284 | NTPHC GURAH TALAB | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | OPD
285 | NTPHC GURAH TALAB | Aspirators (Suction Machine) | NA | OPD
286 | NTPHC GURAH TALAB | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | OPD
287 | NTPHC GURAH TALAB | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
288 | NTPHC GURAH TALAB | Scales, Infant, Mechanical (Infant wieghing machine) | NA | OPD
289 | NTPHC JAKH | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine) | Moh &FW | GENERAL OPD
290 | NTPHC JAKH | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Moh &FW | GENERAL OPD
291 | NTPHC JAKH | Cutters, Syringe/Needle (Syringe cutter) | Life care | GENERAL OPD
292 | NTPHC JAKH | Sterilizing Units(Instrument Sterilizer) | NA | GENERAL OPD
293 | NTPHC JAKH | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | GENERAL OPD
294 | NTPHC JAKH | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | GENERAL OPD
295 | NTPHC JAKH | Sphygmomanometers, Electronic (Electronic BP Machine) | Omron healthcare Europe | GENERAL OPD
296 | NTPHC PANGARI | Cutters, Syringe/Needle (Syringe cutter) | Microsil | GENERAL OP
297 | NTPHC PANGARI | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | GENERAL OPD
298 | NTPHC PANGARI | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Dolphin | GENERAL OPD
299 | NTPHC PANGARI | Sphygmomanometers, Mercury (Mercury BP Machine) | Blue Cross | GENERAL OPD
300 | NTPHC TACHERWAN | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | GENERAL OPD
301 | NTPHC TACHERWAN | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Morepen lab. Ltd | GENERAL OPD
302 | NTPHC TACHERWAN | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Samso | GENERAL OPD
303 | NTPHC TACHERWAN | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | GENERAL OPD
304 | PHC Sohal | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | DENTAL
305 | PHC Sohal | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | PHARMACY
306 | PHC Sohal | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | IMMUNIZATION
307 | PHC Sohal | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | General OPD-Ground Floor
308 | PHC Sohal | Radiographic Units, Mobile(Mobile X Ray -100 mA) | Allengers | RADIOLOGY
309 | PHC Sohal | Sterilizing Units(Instrument Sterilizer) | NA | LABOUR ROOM
310 | PHC Sohal | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | General OPD-Ground Floor
311 | PHC Sohal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | IMMUNIZATION
312 | PHC Sohal | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | IMMUNIZATION
313 | PHC Sohal | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | General OPD-Ground Floor
314 | PHC Sohal | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | General OPD-Ground Floor
315 | PHC Sohal | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | General OPD-Ground Floor
316 | PHC Sohal | Sterilizing Units(Instrument Sterilizer) | NA | G. Floor - Pharmacy Department
317 | PHC Sohal | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | DENTAL
318 | PHC Sohal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | PHARMACY
319 | PHC Sungal | Sphygmomanometers, Mercury (Mercury BP Machine) | Bio-plus | DISPENSARY
320 | PHC Sungal | Sphygmomanometers, Electronic (Electronic BP Machine) | HICKS | IMMUNIZATION SECTION
321 | PHC Sungal | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | IMMUNIZATION SECTION
322 | PHC Sungal | Scales, Infant, Digital (Digital Infant Scale) | Hangzhou Tianheng Technology P | GENERAL LAB
323 | PHC Sungal | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | NA | GENERAL LAB
324 | PHC Sungal | Scales, Infant, Mechanical (Infant wieghing machine) | NA | GENERAL LAB
325 | PHC Sungal | Cutters, Syringe/Needle (Syringe cutter) | NA | DISPENSARY
326 | PHC Sungal | Sterilizing Units(Instrument Sterilizer) | NA | IMMUNIZATION SECTION
327 | PHC Sungal | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | DENTAL SECTION
328 | PHC Sungal | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | DISPENSARY
329 | PHC Sungal | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | GENERAL LAB
330 | PHC Sungal | Microscopes, Light, Laboratory (Binocular Microscope) | NA | IMMUNIZATION SECTION
331 | PHC Sungal | Nebulizers, Nonheated (Nebulizer) | K life | DISPENSARY
332 | PHC Sungal | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | NA | GENERAL LAB
333 | PHC Sungal | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | GENERAL LAB
334 | PHC Sungal | Centrifuges, Tabletop (Centrifuge) | Laby Instruments | GENERAL LAB
335 | PHC Sungal | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | IMMUNIZATION SECTION
336 | PHC Sungal | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | IMMUNIZATION SECTION
337 | PHC Sungal | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | IMMUNIZATION SECTION
338 | PHC Sungal | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | IMMUNIZATION SECTION
339 | PHC Sungal | Phototherapy Units, Ultraviolet,CFL (CFL Infant Phototherapy) | NA | GENERAL LAB
340 | PHC Sungal | Radiographic Units, Mobile(Mobile X Ray -100 mA) | Allengers | RADIOLOGY
341 | PHC Sungal | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | DENTAL SECTION
342 | PHC Bhalwal Brahmana | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | FAMILY WELFARE
343 | PHC Bhalwal Brahmana | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | NA | OPD
344 | PHC Bhalwal Brahmana | Sphygmomanometers, Mercury (Mercury BP Machine) | Pagoda | OPD
345 | PHC Bhalwal Brahmana | Sterilizing Units(Instrument Sterilizer) | NA | Ground Floor -General Ward
346 | PHC Bhalwal Brahmana | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
347 | PHC Bhalwal Brahmana | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
348 | PHC Bhalwal Brahmana | Scales, Infant, Mechanical (Infant wieghing machine) | NA | OPD
349 | PHC Bhalwal Brahmana | Cutters, Syringe/Needle (Syringe cutter) | Microsil | FAMILY WELFARE
350 | PHC Bhalwal Brahmana | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | Roche | FAMILY WELFARE
351 | PHC Bhalwal Brahmana | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | Morepen lab. Ltd | FAMILY WELFARE
352 | PHC Bhalwal Brahmana | Sphygmomanometers, Aneriod(Aneroid BP Machine) | NA | OPD
353 | PHC Bhalwal Brahmana | Cutters, Syringe/Needle (Syringe cutter) | Microsil | FAMILY WELFARE
354 | PHC Bhalwal Brahmana | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Prestige | OPD
355 | PHC Bhalwal Brahmana | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Smart Care | FAMILY WELFARE
356 | PHC Bhalwal Brahmana | Cutters, Syringe/Needle (Syringe cutter) | Microsil | FAMILY WELFARE
357 | PHC Bhalwal Brahmana | Cutters, Syringe/Needle (Syringe cutter) | Microsil | FAMILY WELFARE
358 | NTPHC GARKHAL | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Morepen lab. Ltd | GENERAL OPD
359 | NTPHC GARKHAL | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | GENERAL OPD
360 | NTPHC GARKHAL | Cutters, Syringe/Needle (Syringe cutter) | Microsil | GENERAL OPD
361 | NTPHC GARKHAL | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Moh &FW | GENERAL OPD
362 | NTPHC GARKHAL | Sphygmomanometers, Mercury (Mercury BP Machine) | Diamond | GENERAL OPD