## CHOWKI CHOURA
Sl. No | Hospital | ME Name | Manufacturer | Department
1 | Bharore PHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | IMMUNIZATION SECTION
2 | Bharore PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
3 | Bharore PHC | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | IMMUNIZATION SECTION
4 | Chowki Choura CHC | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | BPL | VACCINE ROOM/1ST FLOOR
5 | Chowki Choura CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | GENERAL OPD
6 | Chowki Choura CHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | Dental Section
7 | Chowki Choura CHC | Sterilizing Units(Instrument Sterilizer) | NA | Emergency Ward
8 | Chowki Choura CHC | Laser Imager with Single Tray ( 1 Tray Laser Imager ) | Carestream | Ground Floor-Xray Room
9 | Chowki Choura CHC | Lights, Surgical - 1 Dome - LED(1 Dome LED Surgical OT Light) | Cognate India | Ot
10 | Chowki Choura CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | GENERAL OPD
11 | Chowki Choura CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Opd
12 | Chowki Choura CHC | Tables, Operating Electrical (OT Table Electrical) | Staan biomedical engineering p | OT/IST FLOOR
13 | Chowki Choura CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | VACCINE ROOM/1ST FLOOR
14 | Chowki Choura CHC | Nebulizers, Nonheated (Nebulizer) | Entero Healthcare Solution | 1st Floor-Emergency Ward
15 | Chowki Choura CHC | Sterilizing Units(Instrument Sterilizer) | NA | Opd
16 | Chowki Choura CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | Opd
17 | Chowki Choura CHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Dental Section
18 | Chowki Choura CHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Labour Room
19 | Chowki Choura CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Radical | General Lab
20 | Chowki Choura CHC | Radiographic/Fluoroscopic Systems, General-Purpose -300 mA (General X Ray - 300mA) | Medion health care | Ground Floor-Xray Room
21 | Chowki Choura CHC | Sterilizing Units(Instrument Sterilizer) | NA | Labour Room
22 | Chowki Choura CHC | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Labtronics | General Lab
23 | Chowki Choura CHC | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | NA | STORE/GROUND FLOOR
24 | Chowki Choura CHC | Radiographic Units, Mobile (Mobile X Ray -60 mA) | Allengers | CHC Khour
25 | Chowki Choura CHC | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | NA | STORE/GROUND FLOOR
26 | Chowki Choura CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | Opd
27 | Chowki Choura CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | General Lab
28 | Chowki Choura CHC | Nebulizers, Nonheated (Nebulizer) | Infinity Mediquip India | Emergency Ward
29 | Chowki Choura CHC | Refrigerators, Ice Lined-150L ( 150L ILR ) | Godrej | Family and Health welfare
30 | Chowki Choura CHC | Ultraviolet Air Sterilization(UV Chamber) | Besto | Dental
31 | Chowki Choura CHC | Ultrasound Therapy Systems, Physical Therapy (Ultrasound Therapy machine) | BTL | Physiotherapy
32 | Chowki Choura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | SNCU/1ST FLOOR
33 | Chowki Choura CHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Bestodent India Pvt. Ltd | Dental Sectuion/Ist Floor
34 | Chowki Choura CHC | Analyzers, Laboratory, Clinical chemistry, Manual (Semi auto analyzer) | Trivitron Healthcare | LABORATORY
35 | Chowki Choura CHC | Centrifuges, Tabletop (Centrifuge) | NA | General Lab
36 | Chowki Choura CHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | STORE/GROUND FLOOR
37 | Chowki Choura CHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | STORE/GROUND FLOOR
38 | Chowki Choura CHC | Scales, Infant, Digital (Digital Infant Scale) | Hangzhou Tianheng Technology P | Labour Room
39 | Chowki Choura CHC | Scales, Infant, Digital (Digital Infant Scale) | Hangzhou Tianheng Technology P | Sncu
40 | Chowki Choura CHC | Ventilator Intensive care ( PM CARE ) | Skanray Healthcare | AEFC ROOM/1ST FLOOR
41 | Chowki Choura CHC | Sterilizing Units, Steam, B- Type ( B Type Autoclave ) | Confident Dental Equipment Ltd | DEIC ( DENTAL SECTION)
42 | Chowki Choura CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Diamond | Opd
43 | Chowki Choura CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Meditech Life system | STORE/GROUND FLOOR
44 | Chowki Choura CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Opd
45 | Chowki Choura CHC | Defibrillators, External, Manual (Defibrillator) | Mediana | General Ward ground floor
46 | Chowki Choura CHC | Electrocardiographs, Three-Channel ( 3 Channel ECG) | Marks | Ecg Section
47 | Chowki Choura CHC | Electrocardiographs, Three-Channel ( 3 Channel ECG) | 3 Ray Electronics | General Ward
48 | Chowki Choura CHC | Refrigerators, Laboratory (Lab refrigerator) | LG | Opd
49 | Chowki Choura CHC | Refrigerators, Laboratory (Lab refrigerator) | Haier | STORE/GROUND FLOOR
50 | Chowki Choura CHC | Incubators, Test Tube (Lab Incubator) | NA | General Lab
51 | Chowki Choura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | S.S technomed | Sncu
52 | Chowki Choura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | SNCU/1ST FLOOR
53 | Chowki Choura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | SNCU/1ST FLOOR
54 | Chowki Choura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | SNCU/1ST FLOOR
55 | Chowki Choura CHC | Infusion Pumps, Syringe (Syringe Pump) | Fresenius Kabi India Pvt. Ltd | General Ward ground floor
56 | Chowki Choura CHC | Lights, Surgical - 2 Dome - LED(2 Dome LED Surgical OT Light) | Cognate India | OT/IST FLOOR
57 | Chowki Choura CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | OBSERVATION/1ST FLOOR
58 | Chowki Choura CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | VACCINE ROOM/1ST FLOOR
59 | Chowki Choura CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | AEFC ROOM/1ST FLOOR
60 | Chowki Choura CHC | Oxygen Concentrators (Oxygen Concentrator) | Medicare product inc. | Emergency Ward
61 | Chowki Choura CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | OBSERVATION/1ST FLOOR
62 | Chowki Choura CHC | Aspirators (Suction Machine) | NA | Emergency Ward
63 | Chowki Choura CHC | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | General Lab
64 | Chowki Choura CHC | Analyzers, Laboratory, Urine, Semiautomated ( Semi Auto Urine Analyzer) | Siemens | General Lab
65 | Chowki Choura CHC | Digital Imaging Systems, Computed Radiography-Single Slot (1 Slot CR Machine) | carestream health pvt ltd | Ground Floor-Xray Room
66 | Gangal PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | CASUALITY
67 | Gangal PHC | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | GENRAL WARD, GROUND FLOOR
68 | Gangal PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Swan Environmental | CASUALITY
69 | Gangal PHC | Scales, Infant, Mechanical (Infant wieghing machine) | NA | CASUALITY
70 | Gangal PHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | CASUALITY
71 | Ghar Majoor PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | DISPENSARY
72 | Ghar Majoor PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | DISPENSARY
73 | Ghar Majoor PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | DISPENSARY
74 | Kathar PHC (kuthar) | Sterilizing Units(Instrument Sterilizer) | BPL | OPD
75 | Kathar PHC (kuthar) | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | DENTAL SECTION
76 | Kathar PHC (kuthar) | Microscopes, Light, Laboratory (Binocular Microscope) | Labomed | GENERAL LAB
77 | Kathar PHC (kuthar) | Sterilizing Units(Instrument Sterilizer) | Surgical goods | OPD
78 | Kathar PHC (kuthar) | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | OPD
79 | Kathar PHC (kuthar) | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | IMMUNIZATION SECTION
80 | Kathar PHC (kuthar) | Nebulizers, Nonheated (Nebulizer) | Olex | DISPENSARY
81 | Kathar PHC (kuthar) | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DISPENSARY
82 | Kathar PHC (kuthar) | Sterilizing Units(Instrument Sterilizer) | Surgical goods | DISPENSARY
83 | Kathar PHC (kuthar) | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | GENERAL LAB
84 | Kathar PHC (kuthar) | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Simtronics | GENERAL LAB
85 | Kathar PHC (kuthar) | Aspirators (Suction Machine) | Anand medicaids Pvt. Ltd | LABOUR ROOM
86 | Kathar PHC (kuthar) | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | IMMUNIZATION SECTION
87 | Kathar PHC (kuthar) | Centrifuges, Tabletop (Centrifuge) | Alpine | GENERAL LAB
88 | Kathar PHC (kuthar) | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
89 | Kathar PHC (kuthar) | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
90 | Kathar PHC (kuthar) | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | CASUALITY
91 | Kathar PHC (kuthar) | Sphygmomanometers, Mercury (Mercury BP Machine) | Pagoda | OPD
92 | Kathar PHC (kuthar) | Radiographic Units, Mobile (Mobile X Ray -60 mA) | Allengers | RADIOLOGY
93 | Kathar PHC (kuthar) | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
94 | Kathar PHC (kuthar) | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Dolphin | CASUALITY
95 | Kathar PHC (kuthar) | Aspirators (Suction Machine) | NA | LABOUR ROOM
96 | Kathar PHC (kuthar) | Scales, Infant, Digital (Digital Infant Scale) | Equinox | LABOUR ROOM
97 | Kathar PHC (kuthar) | Sterilizing Units(Instrument Sterilizer) | NA | OPD