## Sheet2
Sl. No | Name of Health Institution | ME Name | Manufacturer | Department
1 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | GENERAL WARD
2 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | GENERAL WARD
3 | PHC Dansal | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | ground floor-store
4 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | DENTAL SECTION
5 | PHC Dansal | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | Labour room
6 | PHC Dansal | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | ground floor-store
7 | PHC Dansal | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | SHIFT-DY CMO JAMMU
8 | PHC Dansal | Sphygmomanometers, Electronic (Electronic BP Machine) | Elite surgical industries | Ground floor
9 | PHC Dansal | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | SHIFT-DY CMO JAMMU
10 | PHC Dansal | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | ground floor-store
11 | PHC Dansal | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | ground floor-store
12 | PHC Dansal | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | ground floor-store
13 | PHC Dansal | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | General opd
14 | PHC Dansal | Nebulizers, Nonheated (Nebulizer) | Handyneb | EMERGENCY ROOM
15 | PHC Dansal | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NA | Labour room
16 | PHC Dansal | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | ground floor-store
17 | PHC Dansal | Ovens, Drying (Hot Air Oven) | Microsil | Laboratory - Ground Floor
18 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | OT/GROUND FLOOR
19 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | STORE/OT GROUND FLOOR
20 | PHC Dansal | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | WARD/GROUND FLOOR
21 | PHC Dansal | Infusion Pumps, Syringe (Syringe Pump) | Fresenius Kabi India Pvt. Ltd | STORE/GROUND FLOOR
22 | PHC Dansal | Baths, Water, Laboratory (Water Bath) | Adarsh | GENERAL LAB
23 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | GENERAL LAB
24 | PHC Dansal | Electrocardiographs, Single-Channel ( Single Channel ECG ) | RMS Medical Tech | GENERAL WARD
25 | PHC Dansal | Nebulizers, Nonheated (Nebulizer) | Entair | ground floor-store
26 | PHC Dansal | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | STORE / GROUND FLOOR
27 | PHC Dansal | Aspirators (Suction Machine) | Anand medicaids Pvt. Ltd | ground floor-store
28 | PHC Dansal | Nebulizers, Nonheated (Nebulizer) | Infinity Mediquip India | MALE WARD
29 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | LABOUR ROOM
30 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | MALE WARD
31 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | IMMUNIZATION SECTION
32 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Labour Room
33 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Store
34 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Store
35 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | CASUALITY
36 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | GENERAL WARD
37 | PHC Dansal | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | SHIFT-NTPHC NAGROTA
38 | PHC Dansal | Incubators, Test Tube (Lab Incubator) | Microsil | Laboratory - Ground Floor
39 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Store
40 | PHC Dansal | Radiographic/Fluoroscopic Systems, General-Purpose -300 mA (General X Ray - 300mA) | ELPRO International Ltd | X- RAY SECTION
41 | PHC Dansal | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | SHIFT-DY CMO JAMMU
42 | PHC Dansal | Oxygen Concentrators (Oxygen Concentrator) | RMS Medical Tech | MALE WARD
43 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | GENERAL WARD
44 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | Esteem industries | GENERAL WARD
45 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | GENERAL WARD
46 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | JSE | GENERAL WARD
47 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | Esteem industries | GENERAL WARD
48 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | CASUALITY
49 | PHC Dansal | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | Morepen lab. Ltd | LABORATORY
50 | PHC Dansal | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | RMD Mediaids LTD | GENERAL LAB
51 | PHC Dansal | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | Infopia co. Ltd. | GENERAL LAB
52 | PHC Dansal | Refrigerators, Laboratory (Lab refrigerator) | Godrej | Ground Floor - Mch
53 | PHC Dansal | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | DENTAL SECTION
54 | PHC Dansal | Scales, Infant, Digital (Digital Infant Scale) | NA | MCH SECTION
55 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | CASUALITY
56 | PHC Dansal | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Crown | MCH SECTION
57 | PHC Dansal | Sphygmomanometers, Mercury (Mercury BP Machine) | Meditech Life system | Store
58 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | GENERAL WARD
59 | PHC Dansal | Analyzers, Laboratory, Hematology, Cell Counting, Automated, 3 Part ( 3part blood Cell Counter) | Medsource Ozone Biomedical | LABORATORY
60 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Labour Room
61 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | GENERAL WARD
62 | PHC Dansal | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | GENERAL LAB
63 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | GENERAL WARD
64 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | LABOUR ROOM
65 | PHC Dansal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Casualty
66 | PHC Dansal | Analyzers, Laboratory, Clinical chemistry, Manual (Semi auto analyzer) | Vector Biotech Pvt Ltd | Lab
67 | PHC Dansal | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Doctor Beliram and sons | MCH SECTION
68 | PHC Dansal | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | Accusure | Labour Room
69 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | Labour Room
70 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | GENERAL WARD
71 | PHC Dansal | Electrocardiographs, Three-Channel ( 3 Channel ECG) | SHENZEN UNICARE ELECTRONIC | EMERGENCY ROOM
72 | PHC Dansal | Microscopes, Light, Laboratory (Binocular Microscope) | Radical | GENERAL LAB
73 | PHC Dansal | Aspirators (Suction Machine) | NA | ground floor-store
74 | PHC Dansal | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | GENERAL WARD
75 | PHC Dansal | Incubators, Test Tube (Lab Incubator) | NA | GENERAL LAB
76 | PHC Dansal | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Bird meditech | LABOUR ROOM
77 | PHC Dansal | Infusion Pumps, Syringe (Syringe Pump) | Fresenius Kabi India Pvt. Ltd | STORE/GROUND FLOOR
78 | PHC Dansal | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | ground floor-store
79 | PHC Dansal | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | WARD/GROUND FLOOR
80 | PHC Dansal | Aspirators (Suction Machine) | NA | LABOUR ROOM
81 | PHC Dansal | Radiographic Units, Dental, Extraoral (Dental X Ray) | Platinum rays | X- RAY SECTION
82 | PHC Dansal | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Elite Scientific Corp | GENERAL LAB
83 | PHC Dansal | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | GENERAL LAB
84 | PHC Dansal | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | GENERAL LAB
85 | PHC Dansal | Scanning Systems, Ultrasonic, General-Purpose ( Ultrasound Scanner ) | Toshiba | WARD/GROUND FLOOR
86 | PHC Dansal | Sterilizing Units(Instrument Sterilizer) | NA | General Ward
87 | PHC Dansal | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | GENERAL LAB
88 | PHC Dansal | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | IMMUNIZATION SECTION
89 | PHC Dansal | Refrigerators, Ice Lined-200L ( 200L ILR ) | Vestfrost | IMMUNIZATION SECTION
90 | PHC Dansal | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | IMMUNIZATION SECTION
91 | PHC Dansal | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | IMMUNIZATION SECTION
92 | PHC Dansal | Centrifuges, Tabletop (Centrifuge) | Remi | GENERAL LAB
93 | PHC Dansal | Sphygmomanometers, Mercury (Mercury BP Machine) | Elite | Store
94 | PHC Dansal | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Store
95 | PHC Dansal | Lights, Surgical, 1 Dome, Halogen (1 Dome Halogen OT Light) | NA | LABOUR ROOM
96 | PHC Dansal | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | GENERAL WARD
97 | PHC Dansal | Sphygmomanometers, Mercury (Mercury BP Machine) | Crown | LABOUR ROOM
98 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
99 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
100 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
101 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
102 | PHC Chibba | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcare | Ward Ground floor
103 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
104 | PHC Chibba | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NA | LABOUR ROOM-Ground Floor
105 | PHC Chibba | Lights, Surgical, 1 Dome, Halogen (1 Dome Halogen OT Light) | NA | STORE
106 | PHC Chibba | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | STORE
107 | PHC Chibba | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | STORE
108 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
109 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | MCP | OPD
110 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
111 | PHC Chibba | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | IMMUNISATION SECTION
112 | PHC Chibba | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | OPD
113 | PHC Chibba | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | Ward Ground floor
114 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
115 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
116 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
117 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
118 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
119 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor-store
120 | PHC Chibba | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | OPD
121 | PHC Chibba | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | DISPENSARY
122 | PHC Chibba | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | IMMUNISATION SECTION
123 | PHC Chibba | Sphygmomanometers, Mercury (Mercury BP Machine) | Allied medical | M U ROOM
124 | PHC Chibba | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | DISPENSARY
125 | PHC Chibba | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Dolphin | M U ROOM
126 | PHC Chibba | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | RMD Mediaids LTD | DISPENSARY
127 | PHC Chibba | Nebulizers, Nonheated (Nebulizer) | Nulife | DISPENSARY/GROUND FLOOR
128 | PHC Chibba | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | IMMUNISATION SECTION
129 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DISPENSARY
130 | PHC Chibba | Chairs, Examination/Treatment, Dentistry (Dental Chair) | NA | OPD
131 | PHC Chibba | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | Accusure | Dispensary
132 | PHC Chibba | Sterilizing Units(Instrument Sterilizer) | NA | OPD
133 | PHC Chibba | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | DISPENSARY
134 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Life care | OPD
135 | PHC Chibba | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt Ltd | LABOUR ROOM-Ground Floor
136 | PHC Chibba | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Dolphin | STORE
137 | PHC Chibba | Sterilizing Units(Instrument Sterilizer) | NA | DISPENSARY
138 | PHC Chibba | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Krups | STORE
139 | PHC Chibba | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Prestige | STORE
140 | PHC Chibba | Cutters, Syringe/Needle (Syringe cutter) | Microsil | IMMUNISATION SECTION
141 | PHC Chibba | Sphygmomanometers, Electronic (Electronic BP Machine) | Shellcare | OPD Room
142 | PHC Chibba | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | LABOUR ROOM-Ground Floor
143 | PHC Jindrah | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | RMD Mediaids LTD | DISPENSARY
144 | PHC Jindrah | Cutters, Syringe/Needle (Syringe cutter) | Microsil | STORE
145 | PHC Jindrah | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | IMMUNIZATION
146 | PHC Jindrah | Aspirators (Suction Machine) | Anand surgical industries | SHIFT-Dansal PHC
147 | PHC Jindrah | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | GENERAL WARD,GROUND FLOOR
148 | PHC Jindrah | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcare | GENERAL WARD,GROUND FLOOR
149 | PHC Jindrah | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | DENTAL SECTION
150 | PHC Jindrah | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Venus | MCH
151 | PHC Jindrah | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | DISPENSARY
152 | PHC Jindrah | Sterilizing Units(Instrument Sterilizer) | NA | DISPENSARY
153 | PHC Jindrah | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt Ltd | GENERAL WARD,GROUND FLOOR
154 | PHC Jindrah | Sphygmomanometers, Mercury (Mercury BP Machine) | Pagoda | STORE
155 | PHC Jindrah | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | IMMUNIZATION
156 | PHC Jindrah | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | MCH/ IMMUNIZATION
157 | PHC Jindrah | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | MCH
158 | PHC Jindrah | Aspirators (Suction Machine) | Jain surgical trader pvt. Ltd. | LABOUR ROOM
159 | PHC Jindrah | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | OPD
160 | PHC Jindrah | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | GENERAL LAB
161 | PHC Jindrah | Sphygmomanometers, Mercury (Mercury BP Machine) | EXTRA CARE | GENERAL LAB
162 | PHC Jindrah | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | GENERAL WARD,GROUND FLOOR
163 | PHC Jindrah | Aspirators (Suction Machine) | NA | STORE
164 | PHC Jindrah | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | MCH
165 | NTPHC Nagrota | Aspirators (Suction Machine) | Jainco | LABOUR ROOM
166 | NTPHC Nagrota | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DISPENSARY
167 | NTPHC Nagrota | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DISPENSARY
168 | NTPHC Nagrota | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | EMERGENCY
169 | NTPHC Nagrota | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcare | Ward/Ground Floor
170 | NTPHC Nagrota | Sphygmomanometers, Mercury (Mercury BP Machine) | Namat Shree vinayak udyog | OPD
171 | NTPHC Nagrota | Nebulizers, Nonheated (Nebulizer) | Nulife | Dispensary-Ground Floor
172 | NTPHC Nagrota | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | Microgene diagnostic system | Labour room
173 | NTPHC Nagrota | Cutters, Syringe/Needle (Syringe cutter) | Microsil | IMMUNISATION
174 | NTPHC Nagrota | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Kohinoor | IMMUNISATION
175 | NTPHC Nagrota | Sphygmomanometers, Mercury (Mercury BP Machine) | Novaphon | STORE/GROUND FLOOR
176 | NTPHC Nagrota | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | Microgene diagnostic system | Labour room
177 | NTPHC Nagrota | Sterilizing Units(Instrument Sterilizer) | Esteem industries | DISPENSARY
178 | NTPHC Nagrota | Nebulizers, Nonheated (Nebulizer) | Perfect | OPD GROUND FLOOR
179 | NTPHC Nagrota | Sterilizing Units(Instrument Sterilizer) | NA | LABOUR ROOM
180 | NTPHC Nagrota | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DISPENSARY
181 | NTPHC Nagrota | Scales, Infant, Mechanical (Infant wieghing machine) | Docbel barun | IMMUNISATION
182 | NTPHC Nagrota | Oxygen Concentrators (Oxygen Concentrator) | Microtek | EMERGENCY ROOM, GROUND FLOOR
183 | NTPHC Nagrota | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | IMMUNISATION
184 | NTPHC Nagrota | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | DISPENSARY
185 | NTPHC Nagrota | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | DENTAL SECTION
186 | NTPHC Nagrota | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | IMMUNISATION
187 | NTPHC Nagrota | Sphygmomanometers, Mercury (Mercury BP Machine) | Namat Shree vinayak udyog | OPD
188 | NTPHC Nagrota | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Bio-plus | Emergency
189 | NTPHC Nagrota | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DISPENSARY
190 | NTPHC Bain Bajalta | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | GENERAL DEPT.
191 | NTPHC Bain Bajalta | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | GENERAL DEPT.
192 | NTPHC Bain Bajalta | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | GENERAL DEPT.
193 | NTPHC Bain Bajalta | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | GENERAL DEPT.
194 | NTPHC Bain Bajalta | Sphygmomanometers, Mercury (Mercury BP Machine) | Longlife | GENERAL DEPT.
195 | NTPHC Bamyal | Cutters, Syringe/Needle (Syringe cutter) | Swan Environmental | OPD
196 | NTPHC Bamyal | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | OPD
197 | NTPHC Bamyal | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Kohinoor | OPD
198 | NTPHC Bamyal | Sphygmomanometers, Mercury (Mercury BP Machine) | Namat Shree vinayak udyog | OPD
199 | NTPHC Bamyal | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | OPD/GROUND FLOOR
200 | NTPHC Bamyal | Sphygmomanometers, Mercury (Mercury BP Machine) | Blue Cross | OPD
201 | NTPHC Bamyal | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | OPD
202 | NTPHC Panjoa | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Kohinoor | OPD
203 | NTPHC Panjoa | Sphygmomanometers, Electronic (Electronic BP Machine) | Medsource Ozone Biomedical | OPD
204 | NTPHC Panjoa | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | Sensa Core India | OPD
205 | NTPHC Panjoa | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | OPD
206 | NTPHC Panjoa | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | RMD Mediaids LTD | OPD
207 | NTPHC Panjoa | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
208 | NTPHC Panjoa | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | OPD
209 | NTPHC Panjoa | Scales, Infant, Mechanical (Infant wieghing machine) | Kohinoor | OPD
210 | NTPHC Panjoa | Cutters, Syringe/Needle (Syringe cutter) | Swan Environmental | OPD
211 | NTPHC Panjoa | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
212 | NTPHC Sidhra | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | IMMUNISATION
213 | NTPHC Sidhra | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Ramon Surgical Company | Opd
214 | NTPHC Sidhra | Sterilizing Units(Instrument Sterilizer) | NA | Opd
215 | NTPHC Sidhra | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | IMMUNISATION
216 | NTPHC Sidhra | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | IMMUNISATION
217 | NTPHC Sidhra | Refrigerators, Ice Lined-150L ( 150L ILR ) | Vestfrost | IMMUNISATION
218 | NTPHC Sidhra | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | IMMUNISATION