## Table 1
Equipments status of block Marh
S. No. | Hospital(s)/ Healthcare Facility(ies) | ME Name | Manufactu rer | Department / Location
1 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | SSC | STORE
2 | Marh CHC | Sterilizing Units, Steam, Tabletop(13 Litre Table top) | NA | OT
3 | Marh CHC | Radiographic/Fluoroscopic Systems, General-Purpose - 300 mA (General X Ray - 300mA) | Allengers | X-ray Sectiom
4 | Marh CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | NA | CASUALITY (EMERGENCY )/Ground floor
5 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Point Of Care | 1St Floor - General Ward
6 | Marh CHC | Cutters, Syringe/Needle (Syringe cutter) | NA | Labour Room
7 | Marh CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | MCH Station
8 | Marh CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Ward
9 | Marh CHC | Ultrasound Therapy Systems, Physical Therapy (Ultrasound Therapy machine) | BTL | PHYSIOTHER APY/GROUND FLOOR
10 | Marh CHC | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | MCH Section
11 | Marh CHC | Sterilizing Units, Ultraviolet ( UV Chamber) | Bestodent India Pvt. Ltd | DENTAL SECTION/ GROUND FLOOR
12 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | Jainco | Emergency cum resuccation room
13 | Marh CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | NA | EMERGENCY/ GROUND FLOOR
14 | Marh CHC | Scanning Systems, Ultrasonic, General-Purpose ( Ultrasound Scanner ) | Esaote | Ground Floor - Ultrasound Room
15 | Marh CHC | Nebulizers, Nonheated (Nebulizer) | Entair | EMERGENCY WARD / GROUND FLOOR
16 | Marh CHC | Nebulizers, Nonheated (Nebulizer) | Vats medical system p LTD | Emergency
17 | Marh CHC | Nebulizers, Nonheated (Nebulizer) | NA | Emergency cum resuccation room
18 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Jiangsu yuyue Medical Equipmen t & Supply Co Ltd | GEN WARD/1ST FLOOR
19 | Marh CHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | MCH
20 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Jiangsu yuyue Medical Equipmen t & Supply Co Ltd | GEN WARD/1ST FLOOR
21 | Marh CHC | Sterilizing Units, Steam (Autoclave Vertical) | Jainco | Emergency cum resuccation room
22 | Marh CHC | Lights, Surgical - 1 Dome - LED(1 Dome LED Surgical OT Light) | Cognate India | OT
23 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | Ward/1st floor
24 | Marh CHC | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | NCD
25 | Marh CHC | Freezer Dead Body(Dead Body Freezer) | NA | CASUALITY
26 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technolog y | Casulity/Groun d floor
27 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | NA | STORE
28 | Marh CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Labovision | Lab section
29 | Marh CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Store
30 | Marh CHC | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Contec Medical System | OT Ground Floor
31 | Marh CHC | Sterilizing Units, Steam (Autoclave Vertical) | Geeta Industries | Labour Room
32 | Marh CHC | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NA | LABOUR ROOM
33 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Labour Room
34 | Marh CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Radical | Lab section
35 | Marh CHC | Radiographic Units, Dental, Extraoral (Dental X Ray) | Platinum rays | STORE
36 | Marh CHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Bestodent India Pvt. Ltd | DENTAL SECTION GROUND FLOOR
37 | Marh CHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Doctor Beliram and sons | NCD
38 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | OT
39 | Marh CHC | Tables, Operating Hydraulic (OT Table Hydraulic) | NA | Gole Gujral PHC
40 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | NA | Store room
41 | Marh CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
42 | Marh CHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | MCH station
43 | Marh CHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | MCH SECTION/GR OUND FLOOR
44 | Marh CHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | MCH STATION
45 | Marh CHC | Refrigerators, Ice Lined-70L ( 70L ILR ) | NA | MCH
46 | Marh CHC | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | Labour Room
47 | Marh CHC | Baths, Water, Laboratory (Water Bath) | Adarsh | Lab section
48 | Marh CHC | Incubators, Test Tube (Lab Incubator) | Coslab India | Labsection
49 | Marh CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Labour Room/Ground Floor
50 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | NA | STORE
51 | Marh CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Elite surgical industries | Emergency cum resuccation room/casuality
52 | Marh CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Pagoda | OPD
53 | Marh CHC | Aspirators (Suction Machine) | NA | Emergency cum resuccation room
54 | Marh CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | NA | CASUALITY (EMERGENCY )/Ground floor
55 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | NA | STORE
56 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | NA | STORE
57 | Marh CHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | OT
58 | Marh CHC | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NA | LABOUR ROOM
59 | Marh CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Mediwave s inc | Labour Room
60 | Marh CHC | Refrigerators, Laboratory (Lab refrigerator) | Videocon | Lab section
61 | Marh CHC | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | BPL | LABOUR ROOM-Ground Floor
62 | Marh CHC | Electrocardiographs, Three- Channel ( 3 Channel ECG) | SHENZEN UNICARE ELECTRO NIC | STORE
63 | Marh CHC | Apex Locator Dental (Apex Locator) | Nsk | DENTAL SECTION GROUND FLOOR
64 | Marh CHC | Intraoral RVG Sensor | Confident Dental Equipmen ts Ltd | DENTAL SECTION GROUND FLOOR
65 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Dental section
66 | Marh CHC | Endomotor, Dental | Coltene | DENTAL SECTION GROUND FLOOR
67 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | general ward
68 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | GEN WARD/1ST FLOOR
69 | Marh CHC | Electrosurgical Units (Cautery Machine) | Xceilance medical technolog y | OT Ground Floor
70 | Marh CHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | Labour Room/Ground Floor
71 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | NA | STORE
72 | Marh CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | 1St Floor - General Ward
73 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | NA | STORE
74 | Marh CHC | Sterilizing Units, Steam, B- Type ( B Type Autoclave ) | Confident dental equipment | Dental Section
75 | Marh CHC | Sterilizing Units, Steam (Autoclave Vertical) | Geeta Industries | Labour Room
76 | Marh CHC | Sterilizing Units, Steam, Tabletop(13 Litre Table top) | NA | OT
77 | Marh CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | S.S technome d | Labour Room
78 | Marh CHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Bio-plus | NCD
79 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | Emergency
80 | Marh CHC | Lights, Dental, Intraoral ( Light Cure Unit ) | Dentameri ca | DENTAL SECTION/ GROUND FLOOR
81 | Marh CHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | DENTAL SECTION/ GROUND FLOOR
82 | Marh CHC | Refrigerators, Ice Lined-150L ( 150L ILR ) | Godrej | MCH SECTION
83 | Marh CHC | Sterilizing Units Glass Bead (Glass bead Sterilizer) | Denfort Internation al | DENTAL SECTION
84 | Marh CHC | Scanning systems, ultrasonic, Portable (Portable ultrasound Scanner) | BPL | Radiology
85 | Marh CHC | Scanning Systems, Ultrasonic, General-Purpose ( Ultrasound Scanner ) | Philips | Radiology
86 | Marh CHC | Analyzers, Laboratory, Clinical chemistry, Manual (Semi auto analyzer) | Micro lab | LABORATORY
87 | Marh CHC | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Labtronics | Lab section
88 | Marh CHC | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Beacon | Lab section
89 | Marh CHC | Aspirators (Suction Machine) | NA | Labour Room
90 | Marh CHC | Aspirators (Suction Machine) | Bio-plus | Labour Room
91 | Marh CHC | Aspirators (Suction Machine) | NA | Operation theatre
92 | Marh CHC | Phototherapy Units, Ultraviolet,CFL (CFL Infant Phototherapy) | NA | Opposite to ward
93 | Marh CHC | Phototherapy Units, Ultraviolet,CFL (CFL Infant Phototherapy) | NA | Opposite to Ward
94 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Breathe well | Labour Room
95 | Marh CHC | Lights, Surgical - 1 Dome - LED(1 Dome LED Surgical OT Light) | Confident dental equipment | Operation theatre
96 | Marh CHC | Lights, Surgical, Mobile LED (LED Mobile OT Light) | Confident dental equipment | Labour Room
97 | Marh CHC | Lights, Surgical, Mobile Halogen (Halogen Mobile OT Light) | Technome d | OT
98 | Marh CHC | Sterilizing Units, Steam (Autoclave Vertical) | Map Industries | LABOUR ROOM/GROU ND FLOOR
99 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technolog y | GEN WARD/1ST FLOOR
100 | Marh CHC | Sterilizing Units(Instrument Sterilizer) | NA | CAUSALITY
101 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | Jiangsu yuyue Medical Equipmen t & Supply Co Ltd | GEN WARD/1ST FLOOR
102 | Marh CHC | Tables, Operating Electrical (OT Table Electrical) | Confident dental equipment | G. Floor - Operation Theatre
103 | Marh CHC | Aspirators (Suction Machine) | NA | Labour Room
104 | Marh CHC | Aspirators (Suction Machine) | Bio-plus | Labour Room
105 | Marh CHC | Scales, Infant, Digital (Digital Infant Scale) | Crown | Labour Room
106 | Marh CHC | Oxygen Concentrators (Oxygen Concentrator) | LONGFIA N SCITECH CO.LTD | CASUALITY (EMERGENCY )/Ground floor
107 | Marh CHC | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | Operation theatre
108 | Marh CHC | Monitoring Systems, Physiologic with 7 Parameters (7 Para Patient Monitor) | MBS INDIA | ER Room Gnd Floor
109 | Marh CHC | Monitoring Systems, Physiologic with 7 Parameters (7 Para Patient Monitor) | MBS INDIA | G. Floor - Operation Theatre
110 | Marh CHC | Anesthesia Units Work Station (Anesthesia work station) | Avasarala technologi es ltd | Operation theatre
111 | Marh CHC | Anesthesia Units Work Station (Anesthesia work station) | Spacelabs healthcare | Operation theatre
112 | Marh CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Lab section
113 | Ghomanhasa PHC | Oxygen Concentrators (Oxygen Concentrator) | Yuwell | OPD/Ground Floor
114 | Ghomanhasa PHC | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcar e | OPD/Ground Floor
115 | Ghomanhasa PHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | OPD/Ground Floor
116 | Ghomanhasa PHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technolog y | OPD/Ground Floor
117 | Ghomanhasa PHC | Sphygmomanometers, Electronic (Electronic BP Machine) | Amkay Products | OPD/Ground Floor
118 | Ghomanhasa PHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | OPD/Ground Floor
119 | Ghomanhasa PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
120 | Ghomanhasa PHC | Microscopes, Light, Laboratory (Binocular Microscope) | Radical | Lab Section
121 | Ghomanhasa PHC | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | LABORTARY
122 | Ghomanhasa PHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | Dental Section
123 | Ghomanhasa PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
124 | Ghomanhasa PHC | Nebulizers, Nonheated (Nebulizer) | Amkay | OPD GROUND FLOOR
125 | Ghomanhasa PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
126 | Ghomanhasa PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
127 | Ghomanhasa PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Elite surgical industries | OPD
128 | Ghomanhasa PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | OPD
129 | Ghomanhasa PHC | Centrifuges, Tabletop (Centrifuge) | Remi | Lab Section
130 | Ghomanhasa PHC | Centrifuges, Tabletop (Centrifuge) | NA | Lab Section
131 | Ghomanhasa PHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | MCH Section
132 | Ghomanhasa PHC | Refrigerators, Ice Lined-70L ( 70L ILR ) | NA | MCH Section
133 | Ghomanhasa PHC | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | OPD
134 | Ghomanhasa PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcar e Pvt. Ltd | OPD GROUND FLOOR
135 | Ghomanhasa PHC | Sphygmomanometers, Electronic (Electronic BP Machine) | Amkay Products | OPD/Ground Floor
136 | Ghomanhasa PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
137 | Ghomanhasa PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
138 | Ghomanhasa PHC | Nebulizers, Nonheated (Nebulizer) | Amkay Products | OPD/Ground Floor
139 | Ghomanhasa PHC | Oxygen Concentrators (Oxygen Concentrator) | Equinox | OPD/Ground Floor
140 | Ghomanhasa PHC | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | Labortary ground floor
141 | Golegujral PHC | Oxygen Concentrators (Oxygen Concentrator) | LONGFIA N SCITECH CO.LTD | ground floor- store
142 | Golegujral PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
143 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | LABOUR ROOM
144 | Golegujral PHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | IPD
145 | Golegujral PHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | MCH SECTION/GR OUND FLOOR
146 | Golegujral PHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Godrej | MCH SECTION/GR OUND FLOOR
147 | Golegujral PHC | Freezer Dead Body(Dead Body Freezer) | NA | ground floor- store
148 | Golegujral PHC | Refrigerators, Laboratory (Lab refrigerator) | LG | Labortary ground floor
149 | Golegujral PHC | Refrigerators, Ice Lined-150L ( 150L ILR ) | Godrej | MCH SECTION
150 | Golegujral PHC | Refrigerators, Ice Lined-150L ( 150L ILR ) | Vestfrost | FAMILY WELFARE SECTION/GR OUND FLOOR
151 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DENTAL SECTION
152 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | General Ward
153 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | NA | General Ward
154 | Golegujral PHC | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | Labortary ground floor
155 | Golegujral PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Emergency OPD
156 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
157 | Golegujral PHC | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Labtronics | LAB SECTION
158 | Golegujral PHC | Phototherapy Units, Ultraviolet,CFL (CFL Infant Phototherapy) | NA | LABOUR ROOM
159 | Golegujral PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | LABOUR ROOM/GROU ND FLOOR
160 | Golegujral PHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | LABOUR ROOM/GROU ND FLOOR
161 | Golegujral PHC | Incubators, Test Tube (Lab Incubator) | Coslab India | LAB SECTION
162 | Golegujral PHC | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | Kanachak PHC-MCH SECTION
163 | Golegujral PHC | Electrocardiographs, Single- Channel ( Single Channel ECG ) | BPL | OPD
164 | Golegujral PHC | Centrifuges, Tabletop (Centrifuge) | Laby Instrument Industry | LAB SECTION
165 | Golegujral PHC | Centrifuges, Tabletop (Centrifuge) | NA | Marh_CHC
166 | Golegujral PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | AYUSH SECTION
167 | Golegujral PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | DENTAL SECTION
168 | Golegujral PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | WARD/GROU ND FLOOR
169 | Golegujral PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | AYUSH SECTION
170 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | LABOUR ROOM/GROU ND FLOOR
171 | Golegujral PHC | Aspirators (Suction Machine) | NA | LABOUR ROOM
172 | Golegujral PHC | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | NA | LAB SECTION
173 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | Life care | Lab
174 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | NA | General Ward
175 | Golegujral PHC | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | LABOUR ROOM
176 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | NA | DENTAL SECTION
177 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | LAB SECTION
178 | Golegujral PHC | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | LAB SECTION
179 | Golegujral PHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | IPD
180 | Golegujral PHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | DENTAL SECTION
181 | Golegujral PHC | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcar e | GENERAL WARD, GROUND FLOOR
182 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | NA | Dispensary
183 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
184 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Lab
185 | Golegujral PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | Labour room
186 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
187 | Golegujral PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Gold supreme | MCH section
188 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
189 | Golegujral PHC | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | Labortary ground floor
190 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | NA | DENTAL SECTION
191 | Golegujral PHC | Microscopes, Light, Laboratory (Binocular Microscope) | Radical | Lab
192 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | Geeta Industries | Dispensary
193 | Golegujral PHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | LABOUR ROOM
194 | Golegujral PHC | Analyzers, Laboratory, Hematology, WBC, Point of care(5 Part WBC Point of care) | Hemocue | Lab
195 | Golegujral PHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek | General Ward- Ground Floor
196 | Golegujral PHC | Oxygen Concentrators (Oxygen Concentrator) | Yuwell | ground floor- store
197 | Golegujral PHC | Oxygen Concentrators (Oxygen Concentrator) | Yuwell | ground floor- store
198 | Golegujral PHC | Oxygen Concentrators (Oxygen Concentrator) | Yuwell | ground floor- store
199 | Golegujral PHC | Centrifuges, Tabletop (Centrifuge) | NA | LABORATORY
200 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Lab section
201 | Golegujral PHC | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | Lab
202 | Golegujral PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | LABOUR ROOM/GROU ND FLOOR
203 | Kanachak PHC | Sterilizing Units(Instrument Sterilizer) | NA | DENTAL SECTION
204 | Kanachak PHC | Sterilizing Units Glass Bead (Glass bead Sterilizer) | NA | DENTAL SECTION GROUND FLOOR
205 | Kanachak PHC | Sterilizing Units(Instrument Sterilizer) | NA | LABOUR ROOM
206 | Kanachak PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Fortune | Opd
207 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor- store
208 | Kanachak PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Pagoda | ground floor- store
209 | Kanachak PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Elite surgical industries | ground floor- store
210 | Kanachak PHC | Oxygen Concentrators (Oxygen Concentrator) | Shanghai intl holding care | ground floor- store
211 | Kanachak PHC | Phototherapy Units, Ultraviolet,CFL (CFL Infant Phototherapy) | NA | LABOUR ROOM
212 | Kanachak PHC | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcar e | ground floor- store
213 | Kanachak PHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Bird meditech | LABOUR ROOM
214 | Kanachak PHC | Refrigerators, Laboratory (Lab refrigerator) | Samsung | LABORATORY
215 | Kanachak PHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | MCH
216 | Kanachak PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Opd
217 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor- store
218 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | NA | ground floor- store
219 | Kanachak PHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | Ground Floor- Store Room
220 | Kanachak PHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | ground floor- store
221 | Kanachak PHC | Oxygen Concentrators (Oxygen Concentrator) | Shanghai intl holding care | ground floor- store
222 | Kanachak PHC | Refrigerators, Laboratory (Lab refrigerator) | Samsung | LABOUR ROOM
223 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | CASUALITY
224 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | Life care | LABORATORY
225 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Opd
226 | Kanachak PHC | Oxygen Concentrators (Oxygen Concentrator) | Yuwell | ground floor- store
227 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Opd
228 | Kanachak PHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Ground OPD
229 | Kanachak PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Elite surgical industries | ground floor- store
230 | Kanachak PHC | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | OPD
231 | Kanachak PHC | Aspirators (Suction Machine) | NA | LABOUR ROOM
232 | Kanachak PHC | Incubators, Test Tube (Lab Incubator) | NA | LABORATORY
233 | Kanachak PHC | Lights, Dental, Intraoral ( Light Cure Unit ) | Dentameri ca | Dental section
234 | Kanachak PHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technolog y | Opd
235 | Kanachak PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | DISPANSARY
236 | Kanachak PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | MCP | Ground OPD
237 | Kanachak PHC | Sterilizing Units, Steam (Autoclave Vertical) | Paras | CASUALITY
238 | Kanachak PHC | Radiographic/Fluoroscopic Systems, General-Purpose, 100mA(General X Ray - 100mA) | Siemens | X-RAY
239 | Kanachak PHC | Scales, Infant, Mechanical (Infant wieghing machine) | NA | LABOUR ROOM
240 | Kanachak PHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Bestodent India Pvt. Ltd | DENTAL SECTION
241 | Kanachak PHC | Refrigerators, Ice Lined-150L ( 150L ILR ) | Godrej | Ground Floor- Immunization
242 | Kanachak PHC | Aspirators (Suction Machine) | NA | LABOUR ROOM
243 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ground floor- store
244 | Kanachak PHC | Sterilizing Units(Instrument Sterilizer) | NA | DENTAL
245 | Kanachak PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | General OPD- Ground Floor
246 | Kanachak PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | General OPD- Ground Floor
247 | Kanachak PHC | Microscopes, Light, Laboratory (Binocular Microscope) | NA | LABORATORY
248 | Kanachak PHC | Cutters, Syringe/Needle (Syringe cutter) | Kohli surgical | DENTAL
249 | Kanachak PHC | Sterilizing Units(Instrument Sterilizer) | NA | Opd
BLOCK MEDICAL OFFICER
MARH