## My Sheet
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | RS Pura CHC | JKZ1JAMCH0100080 | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | JAY-10W | MZJ10D70898 | Emergency ward |  | 36000 | 01-01-2000
2 | Jammu | RS Pura CHC | JKZ1JAMCH0100027 | Lights, Surgical, 1 Dome, Halogen (1 Dome Halogen OT Light) | Technomed | NA | NA136 | LABOUR ROOM/GROUND FLOOR |  | 75000 | 01-01-2000
3 | Jammu | RS Pura CHC | JKZ1JAMCH0100012 | Aspirators (Suction Machine) | Esteem industries | NA | NA | OT |  | 10000 | 01-01-2000
4 | Jammu | RS Pura CHC | JKZ1JAMCH0100020 | Aspirators (Suction Machine) | NA | NA | NA | OT |  | 10000 | 01-01-2000
5 | Jammu | RS Pura CHC | JKZ1JAMCH0100001 | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Allied medical | NA | 81200846 | OT |  | 100576 | 01-01-2000
6 | Jammu | RS Pura CHC | JKZ1JAMCH0100014 | Sterilizing Units, Steam (Autoclave Vertical) | Esteem industries | ESTA-106A | 13863 | OT |  | 40949.54 | 01-01-2000
7 | Jammu | RS Pura CHC | JKZ1JAMCH0100061 | Refrigerators, Laboratory (Lab refrigerator) | Samsung | DACWRR192Y22D2 | OACW4ZAM80019912 | Central Lab/Ground Floor | Ground floor | 25000 | 01-01-2000
8 | Jammu | RS Pura CHC | JKZ1JAMCH0100063 | Sphygmomanometers, Electronic (Electronic BP Machine) | Pagoda | Bp-1351 | NA302 | CASUALITY (EMERGENCY) | Ground floor | 1200 | 01-01-2000
9 | Jammu | RS Pura CHC | JKZ1JAMCH0100069 | Sterilizing Units, Steam, B- Type ( B Type Autoclave ) | Confident dental equipment | C-79B | 180603094 | Dental/Ground Floor | Ground floor | 195632.2 | 01-01-2000
10 | Jammu | RS Pura CHC | JKZ1JAMCH0100073 | Fumigation Unit (Fumigation Machine) | ULV FOGGER | N/A | 3623 | OT/Second Floor | Second floor | 30000 | 01-01-2000
11 | Jammu | RS Pura CHC | JKZ1JAMCH0100075 | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | HB201+ | 1346013273 | Lab |  | 15000 | 01-01-2000
12 | Jammu | RS Pura CHC | JKZ1JAMCH0100072 | Electrocardiographs, Three-Channel ( 3 Channel ECG) | SHENZEN UNICARE ELECTRONIC | EM-301 | EM3012019070642 | ECG section |  | 39198.88 | 01-01-2000
13 | Jammu | RS Pura CHC | JKZ1JAMCH0100085 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OXY-5-NEO | KCTA1E19065 | Emergency 2 |  | 36000 | 01-01-2000
14 | Jammu | RS Pura CHC | JKZ1JAMCH0100102 | Refrigerators, Ice Lined-200L ( 200L ILR ) | Vestfrost | MK-304 | 20160139614 | MCH |  | 350000 | 01-01-2000
15 | Jammu | RS Pura CHC | JKZ1JAMCH0100131 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | Na | Na-JKZ1JAMCH0100131 | 1st Floor- Labour Room |  | 47040 | 22-08-2020
16 | Jammu | RS Pura CHC | JKZ1JAMCH0100130 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | Na | Na-JKZ1JAMCH0100130 | 1st Floor- Labour Room |  | 47040 | 31-08-2020
17 | Jammu | RS Pura CHC | JKZ1JAMCH0100136 | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | Billipod led | BPLPH2K20012015/93 | 1st Floor- Labour Room |  | 35000 | 22-08-2020
18 | Jammu | RS Pura CHC | JKZ1JAMCH0100093 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-100C | ND-100C/DGSD/2014-15/2428 | Labour room |  | 1200 | 01-01-2000
19 | Jammu | RS Pura CHC | JKZ1JAMCH0100055 | Cutters, Syringe/Needle (Syringe cutter) | NA | NA | NA | OPD |  | 1200 | 01-01-2000
20 | Jammu | RS Pura CHC | JKZ1JAMCH0100105 | Refrigerators, Ice Lined-150L ( 150L ILR ) | Godrej | MR GVR 99L | 201100031MR00381 | MCH |  | 158829.59 | 01-01-2000
21 | Jammu | RS Pura CHC | JKZ1JAMCH0100103 | Refrigerators, Ice Lined-150L ( 150L ILR ) | Vestfrost | VLS300 | 20172206671 | MCH |  | 158829.59 | 01-01-2000
22 | Jammu | RS Pura CHC | JKZ1JAMCH0100114 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | Na | Na-JKZ1JAMCH0100114 | 1st Floor - Labour Room |  | 47040 | 22-08-2020
23 | Jammu | RS Pura CHC | JKZ1JAMCH0100115 | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | Billipod led | BPLPH2K20012007/40 | 1st Floor- Labour Room |  | 35000 | 22-08-2020
24 | Jammu | RS Pura CHC | JKZ1JAMCH0100116 | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | Billipod led | BPLPH2K20012022/26 | 1st Floor- Labour Room |  | 35000 | 22-08-2020
25 | Jammu | RS Pura CHC | JKZ1JAMCH0100123 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | Na | Na-JKZ1JAMCH0100123 | 1st Floor- Labour Room |  | 47040 | 22-08-2020
26 | Jammu | RS Pura CHC | JKZ1JAMCH0100139 | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | Jay-5 | MZJ5S-159586 | 2nd Floor-Covid Ward |  | 36000 | 22-08-2020
27 | Jammu | RS Pura CHC | JKZ1JAMCH0100137 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | Na | Na-JKZ1JAMCH0100137 | 1st Floor- Labour Room |  | 47040 | 22-08-2020
28 | Jammu | RS Pura CHC | JKZ1JAMCH0100135 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | Na | Na-JKZ1JAMCH0100135 | 1st Floor- Labour Room |  | 47040 | 22-08-2020
29 | Jammu | RS Pura CHC | JKZ1JAMCH0100134 | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | Billipod led | BPLPH2K20012022/25 | 1st Floor- Labour Room |  | 35000 | 18-08-2020
30 | Jammu | RS Pura CHC | JKZ1JAMCH0100133 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | Na | Na-JKZ1JAMCH0100133 | 1st Floor- Labour Room |  | 47040 | 22-08-2020
31 | Jammu | RS Pura CHC | JKZ1JAMCH0100132 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | Na | Na-JKZ1JAMCH0100132 | 1st Floor- Labour Room |  | 47040 | 22-08-2020
32 | Jammu | RS Pura CHC | JKZ1JAMCH0100128 | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | Jay-5 | MZJ5S-129920 | 2nd Floor-Covid Ward |  | 36000 | 22-08-2020
33 | Jammu | RS Pura CHC | JKZ1JAMCH0100126 | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | Jay-5 | MZJ5S-159693 | 1st Floor-Covid ward |  | 36000 | 22-08-2020
34 | Jammu | RS Pura CHC | JKZ1JAMCH0100124 | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | Jay- 5 | MZJ5S 159533 | 2nd Floor-Covid Ward |  | 36000 | 22-08-2020
35 | Jammu | RS Pura CHC | JKZ1JAMCH0100143 | Cast Cutters, Electric ( Plaster Cutter ) | Oscimed ergo | OSCIMED ERGO II | 586501 | OT General |  | 10000 | 24-10-2019
36 | Jammu | RS Pura CHC | JKZ1JAMCH0100083 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-100C | ND-100C/DGSD/2014-15/2112 | Emergency Ward |  | 1200 | 01-01-2000
37 | Jammu | RS Pura CHC | JKZ1JAMCH0100034 | Centrifuges, Tabletop (Centrifuge) | NA | NA | NA | Lab |  | 38725.24 | 01-01-2000
38 | Jammu | RS Pura CHC | JKZ1JAMCH0100148 | Freezer Dead Body(Dead Body Freezer) | SK Scientific and Surgicals | NA | NA-JKZ1JAMCH0100148 | Ground Floor - Mortuary Room |  | 300000 | 01-02-2024
39 | Jammu | RS Pura CHC | JKZ1JAMCH0100091 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | NA | NA-JKZ1JAMCH0100091 | Labour room |  | 47040 | 01-01-2000
40 | Jammu | RS Pura CHC | JKZ1JAMCH0100045 | Nebulizers, Nonheated (Nebulizer) | DR TRUST | 403C | NA | Emergency Ward |  | 1747.2 | 01-01-2000
41 | Jammu | RS Pura CHC | JKZ1JAMCH0100086 | Nebulizers, Nonheated (Nebulizer) | Entero Healthcare Solution | JK-15 | 000131 | Emergency 2 |  | 1747.2 | 01-01-2000
42 | Jammu | RS Pura CHC | JKZ1JAMCH0100053 | Ophthalmoscopes (Ophthalmoscopes) | Heine | NA | NA | OPD |  | 12000 | 01-01-2000
43 | Jammu | RS Pura CHC | JKZ1JAMCH0100084 | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | BP-02 | BAB657211035980D | Emergency Ward |  | 1200 | 01-01-2000
44 | Jammu | RS Pura CHC | JKZ1JAMCH0100142 | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd | CV-200 | BCACV29131 | 2nd Floor-Covid Ward |  | 400000 | 22-08-2020
45 | Jammu | RS Pura CHC | JKZ1JAMCH0100081 | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | JAY-10 | MZJ10D48375 | Emergency ward |  | 36000 | 01-01-2000
46 | Jammu | RS Pura CHC | JKZ1JAMCH0100108 | Lights, Dental, Intraoral ( Light Cure Unit ) | Waldent | N/A | WL2CLIY1268 | DENTAL SECTION GROUND FLOOR |  | 15000 | 26-03-2021
47 | Jammu | RS Pura CHC | JKZ1JAMCH0100094 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-100C | ND-100C/DGSD/2014-15/2414 | OT |  | 1200 | 01-01-2000
48 | Jammu | RS Pura CHC | JKZ1JAMCH0100068 | Electrosurgical Units (Cautery Machine) | Xceilance medical technology | Shalya max | M20K04A1 (V.3.2) | OT | Second floor | 200000 | 28-09-2021
49 | Jammu | RS Pura CHC | JKZ1JAMCH0100089 | Aspirators, Foot (Foot Suction) | Esteem industries | ESTS - 110 | 20224 | Emergency 2 |  | 3500 | 01-01-2000
50 | Jammu | RS Pura CHC | JKZ1JAMCH0100099 | Defibrillators, External, Manual (Defibrillator) | Mediana | D500 | 456922000005 | Labour room |  | 484790 | 01-01-2000
51 | Jammu | RS Pura CHC | JKZ1JAMCH0100019 | Sterilizing Units, Steam (Autoclave Vertical) | NA | NA | NA | OT |  | 40949.54 | 01-01-2000
52 | Jammu | RS Pura CHC | JKZ1JAMCH0100092 | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | JAY-5BW | MZJ5S191245 | Labour room |  | 36000 | 01-01-2000
53 | Jammu | RS Pura CHC | JKZ1JAMCH0100028 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA134 | LABOUR ROOM/GROUND FLOOR |  | 5000 | 01-01-2000
54 | Jammu | RS Pura CHC | JKZ1JAMCH0100013 | Microscopes, Light, Operating (Operating Microscope) | Bino Scientific | OMSZ-1 | NA | OT |  | 785720 | 01-01-2000
55 | Jammu | RS Pura CHC | JKZ1JAMCH0100082 | Nebulizers, Nonheated (Nebulizer) | Meditive | NA | NA0117 | Emergency Ward |  | 1747.2 | 01-01-2000
56 | Jammu | RS Pura CHC | JKZ1JAMCH0100031 | Aspirators (Suction Machine) | NA | NA | NA139 | LABOUR ROOM/GROUND FLOOR |  | 10000 | 01-01-2000
57 | Jammu | RS Pura CHC | JKZ1JAMCH0100079 | Microscopes, Light, Laboratory (Binocular Microscope) | MLW Intermed Germany | MLW LAB | NA0103 | Lab |  | 30000 | 01-01-2000
58 | Jammu | RS Pura CHC | JKZ1JAMCH0100067 | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Contec Medical System | CMS8000 | 19110100022 | OT | Second floor | 100576 | 16-12-2019
59 | Jammu | RS Pura CHC | JKZ1JAMCH0100100 | Defibrillators, External, Manual (Defibrillator) | Mediana | D500 | 166919090013 | OT |  | 484790 | 16-12-2019
60 | Jammu | RS Pura CHC | JKZ1JAMCH0100036 | Microscopes, Light, Laboratory (Binocular Microscope) | Olympus India Pvt Ltd | MAGNUS MLX | 17B1066 | Lab |  | 30000 | 01-01-2000
61 | Jammu | RS Pura CHC | JKZ1JAMCH0100145 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND 60 | NA-JKZ1JAMCH0100145 | Ground - Mch |  | 1200 | 24-10-2018
62 | Jammu | RS Pura CHC | JKZ1JAMCH0100144 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND -100C | ND-100 C /DGSD/2014-15/2431 | Ground - Mch |  | 1200 | 24-10-2018
63 | Jammu | RS Pura CHC | JKZ1JAMCH0100078 | Microscopes, Light, Laboratory (Binocular Microscope) | MLW Intermed Germany | MLW LAB | NA01800 | Lab |  | 30000 | 01-01-2000
64 | Jammu | RS Pura CHC | JKZ1JAMCH0100024 | Cutters, Syringe/Needle (Syringe cutter) | Esteem industries | EST-101 | 11845 | Dental |  | 1200 | 01-01-2000
65 | Jammu | RS Pura CHC | JKZ1JAMCH0100040 | Cutters, Syringe/Needle (Syringe cutter) | NA | NA | NA | Lab |  | 1200 | 01-01-2000
66 | Jammu | RS Pura CHC | JKZ1JAMCH0100043 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | Emergency Ward |  | 5000 | 01-01-2000
67 | Jammu | RS Pura CHC | JKZ1JAMCH0100074 | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | HB201+ | 1709013215 | Lab |  | 15000 | 01-01-2000
68 | Jammu | RS Pura CHC | JKZ1JAMCH0100106 | Analyzers, Laboratory, Clinical chemistry, Manual (Semi auto analyzer) | Labsystems Diagnostics | Labmate | ES1002205CN166 | LABORATORY |  | 120000 | 06-10-2022
69 | Jammu | RS Pura CHC | JKZ1JAMCH0100076 | Analyzers, Laboratory, Hematology, WBC, Point of care(5 Part WBC Point of care) | Hemocue | WBC Diff | 1349370005 | Lab |  | 100000 | 01-01-2000
70 | Jammu | RS Pura CHC | JKZ1JAMCH0100030 | Aspirators (Suction Machine) | Anand surgical industries | MB-36 | NA138 | LABOUR ROOM/GROUND FLOOR |  | 10000 | 01-01-2000
71 | Jammu | RS Pura CHC | JKZ1JAMCH0100077 | Microscopes, Light, Laboratory (Binocular Microscope) | Labovision | COAX-10B | NA01900 | Lab |  | 30000 | 01-01-2000
72 | Jammu | RS Pura CHC | JKZ1JAMCH0100087 | Aspirators (Suction Machine) | NA | NA | NA-JKZ1JAMCH0100087 | Emergency 2 |  | 10000 | 01-01-2000
73 | Jammu | RS Pura CHC | JKZ1JAMCH0100010 | Light Sources, Fiberoptic (Light Source) | Divine Meditech pvt ltd | Haloxen 250 | HLX044-1210 | OT |  | 250000 | 01-01-2000
74 | Jammu | RS Pura CHC | JKZ1JAMCH0100021 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | NA | NA | NA | Dental |  | 192000 | 01-01-2000
75 | Jammu | RS Pura CHC | JKZ1JAMCH0100062 | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | NA | N/A | NA-JKZ1JAMCH0100062 | Central Lab/Ground Floor | Ground floor | 6000 | 01-01-2000
76 | Jammu | RS Pura CHC | JKZ1JAMCH0100090 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA01234 | Emergency |  | 5000 | 01-01-2000
77 | Jammu | RS Pura CHC | JKZ1JAMCH0100057 | View Boxes, X-Ray (X ray Film viewer) | NA | NA | NA | RADIOLOGY |  | 2000 | 01-01-2000
78 | Jammu | RS Pura CHC | JKZ1JAMCH0100059 | View Boxes, X-Ray (X ray Film viewer) | NA | NA | NA | OPD |  | 2000 | 01-01-2000
79 | Jammu | RS Pura CHC | JKZ1JAMCH0100098 | Tables, Operating Electrical (OT Table Electrical) | Staan biomedical engineering p | WARRIOR | 202012304 | OT |  | 200000 | 12-12-2020
80 | Jammu | RS Pura CHC | JKZ1JAMCH0100033 | Analyzers, Laboratory, Hematology, Cell Counting, Automated, 3 Part ( 3part blood Cell Counter) | Horiba Medical | Abx micros ES 60 | (21) 701ESOH10800 | LAB / GROUND FLOOR |  | 350000 | 01-01-2000
81 | Jammu | RS Pura CHC | JKZ1JAMCH0100044 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-100 C | NA-JKZ1JAMCH0100044 | Emergency Ward |  | 1200 | 01-01-2000
82 | Jammu | RS Pura CHC | JKZ1JAMCH0100160 | Stimulators, Electrical, IFT - 4 Channel ( 4 Channel IFT ) | Esteem Industries Inc | Estt-101 | 28668 | 1 Physiotherapy / Ground floor |  | 30000 | 01-01-2000
83 | Jammu | RS Pura CHC | JKZ1JAMCH0100022 | Radiographic Units, Dental, Extraoral (Dental X Ray) | Confident dental equipment | Wheel mount | 16-43-18 | Dental |  | 125000 | 01-01-2000
84 | Jammu | RS Pura CHC | JKZ1JAMCH0100041 | Refrigerators, Laboratory (Lab refrigerator) | NA | NA | NA | Lab |  | 25000 | 01-01-2000
85 | Jammu | RS Pura CHC | JKZ1JAMCH0100025 | Sterilizing Units Glass Bead (Glass bead Sterilizer) | Confident dental equipment | C-63 | 2016080733 | Dental |  | 3600 | 01-01-2000
86 | Jammu | RS Pura CHC | JKZ1JAMCH0100109 | Radiographic/Fluoroscopic Systems, General-Purpose -300 mA (General X Ray - 300mA) | Gme | GME-300 | N/A-JKZ1JAMCH0100109 | G. Floor - X-Ray |  | 450000 | 11-11-2020
87 | Jammu | RS Pura CHC | JKZ1JAMCH0100164 | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | 72492 | INC245219560 | 1St Floor - Store |  | 25000 | 01-01-2000
88 | Jammu | RS Pura CHC | JKZ1JAMCH0100029 | Scales, Infant, Mechanical (Infant wieghing machine) | NA | NA | NA135 | LABOUR ROOM/GROUND FLOOR |  | 5000 | 01-01-2000
89 | Jammu | RS Pura CHC | JKZ1JAMCH0100149 | Refrigerators, Laboratory (Lab refrigerator) | LLOYD | GLDF213/243 SERIES | NA-JKZ1JAMCH0100149 | 1st Floor- Labour Room |  | 25000 | 27-07-2024
90 | Jammu | RS Pura CHC | JKZ1JAMCH0100152 | Monitoring Systems, Physiologic with 7 Parameters (7 Para Patient Monitor) | MBS INDIA | Venus | In 20240626076 | Ot 2nd floor |  | 390642 | 29-07-2024
91 | Jammu | RS Pura CHC | JKZ1JAMCH0100151 | Tables, Operating Electrical (OT Table Electrical) | Confident dental equipment | EHRT-011 | 240211DC3052 | Ot 2nd floor |  | 200000 | 25-07-2024
92 | Jammu | RS Pura CHC | JKZ1JAMCH0100154 | Scanning system, ultrasonic, general purpose, color Doppler (Color Doppler) | Esaote | My Lab Omega | 400238(101740004) | Ground Floor - Ultrasound Room |  | 3499590 | 30-01-2024
93 | Jammu | RS Pura CHC | JKZ1JAMCH0100003 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NA | NA | NA-JKZ1JAMCH0100003 | OT |  | 47040 | 01-01-2000
94 | Jammu | RS Pura CHC | JKZ1JAMCH0100165 | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | 72860 | INC243219638 | B.M.O OFFICE/1ST FLOOR |  | 25000 | 01-01-2000
95 | Jammu | RS Pura CHC | JKZ1JAMCH0100096 | Anesthesia Units Work Station (Anesthesia work station) | Avasarala technologies ltd | Elite-918 | EL918-0920-14 | OT |  | 769440 | 31-10-2020
96 | Jammu | RS Pura CHC | JKZ1JAMCH0100095 | Anesthesia Units Work Station (Anesthesia work station) | Avasarala technologies ltd | Elite-918 | EL918-0221-54 | OT |  | 769440 | 18-03-2021
97 | Jammu | RS Pura CHC | JKZ1JAMCH0100065 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | NICE 2000 | IRW2000572 | OT | Second floor | 47040 | 03-03-2020
98 | Jammu | RS Pura CHC | JKZ1JAMCH0100141 | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd. | CV-200 | BCACV 28802 | 2nd Floor-Covid Ward |  | 400000 | 22-08-2020
99 | Jammu | RS Pura CHC | JKZ1JAMCH0100129 | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd | CV-200 | BCACV28960 | 2nd Floor-Covid Ward |  | 400000 | 22-08-2020
100 | Jammu | RS Pura CHC | JKZ1JAMCH0100138 | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd. | CV-200 | BCACV 29321 | 2nd Floor-Covid Ward |  | 400000 | 22-08-2020
101 | Jammu | RS Pura CHC | JKZ1JAMCH0100127 | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd | CV-200 | BCACV28902 | 2nd Floor-Covid Ward |  | 400000 | 22-08-2020
102 | Jammu | RS Pura CHC | JKZ1JAMCH0100125 | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd. | CV-200 | BCACV28487 | 2nd Floor-Covid Ward |  | 400000 | 22-08-2020
103 | Jammu | RS Pura CHC | JKZ1JAMCH0100156 | Intraoral RVG Sensor | Dentsply Sirona | Sironaxious Supreme | 71016566 | Dental Section |  | 383790 | 03-03-2023
104 | Jammu | RS Pura CHC | JKZ1JAMCH0100157 | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Longlife | SW-2100 | 220700981 | GYANE OPD |  | 1000 | 01-01-2000
105 | Jammu | RS Pura CHC | JKZ1JAMCH0100088 | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd | CV 200 | BVACV05645 | Emergency 2 |  | 400000 | 01-01-2000
106 | Jammu | RS Pura CHC | JKZ1JAMCH0100158 | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Vital | clock model | NA-JKZ1JAMCH0100158 | 1ST FLOOR LABOUR ROOM |  | 1000 | 01-01-2000
107 | Jammu | RS Pura CHC | JKZ1JAMCH0100113 | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Contec | CMS8000 | 20040800200 | 1st Floor- Labour Room |  | 100576 | 22-08-2020
108 | Jammu | RS Pura CHC | JKZ1JAMCH0100060 | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | JAY-5 | 5.252E+15 | EMERGENCY WARD / GROUND FLOOR |  | 36000 | 01-01-2000
109 | Jammu | RS Pura CHC | JKZ1JAMCH0100054 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Kohinoor | NA | NA | OPD |  | 1000 | 01-01-2000
110 | Jammu | RS Pura CHC | JKZ1JAMCH0100097 | Tables, Operating Hydraulic (OT Table Hydraulic) | GALAXY INDIA | NA | GI/HOT/20200224/04 | OT |  | 90999 | 09-03-2019
111 | Jammu | RS Pura CHC | JKZ1JAMCH0100107 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Confident Dental Equipment Ltd | MOOKAMBIKA | 230210175 | DENTAL SECTION |  | 251000 | 27-03-2023
112 | Jammu | RS Pura CHC | JKZ1JAMCH0100008 | Tables, Operating Electrical (OT Table Electrical) | NA | NA | NA 9 | OT |  | 200000 | 01-01-2000
113 | Jammu | RS Pura CHC | JKZ1JAMCH0100002 | Sterilizing Units, Steam (Autoclave Vertical) | NA | NA | 17031970 | OT |  | 40949.54 | 01-01-2000
114 | Jammu | RS Pura CHC | JKZ1JAMCH0100048 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTE1j6925 | ICU |  | 36000 | 01-01-2000
115 | Jammu | RS Pura CHC | JKZ1JAMCH0100004 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTCOJ5520 | OT |  | 36000 | 01-01-2000
116 | Jammu | RS Pura CHC | JKZ1JAMCH0100018 | Sterilizing Units, Steam (Autoclave Vertical) | NA | NA | NA | OT |  | 40949.54 | 01-01-2000
117 | Jammu | RS Pura CHC | JKZ1JAMCH0100017 | Sterilizing Units, Steam (Autoclave Vertical) | NA | NA | NA | OT |  | 40949.54 | 01-01-2000
118 | Jammu | RS Pura CHC | JKZ1JAMCH0100049 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTCOM6026 | ICU |  | 36000 | 01-01-2000
119 | Jammu | RS Pura CHC | JKZ1JAMCH0100056 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | NA | NA7 | OPD |  | 1000 | 01-01-2000
120 | Jammu | RS Pura CHC | JKZ1JAMCH0100007 | Lights, Surgical, 2 Dome, Halogen (2 Dome Halogen OT Light) | Confident dental equipment | NA | NA | OT |  | 130000 | 01-01-2000
121 | Jammu | RS Pura CHC | JKZ1JAMCH0100016 | Sterilizing Units, Steam (Autoclave Vertical) | NA | NA | NA | OT |  | 40949.54 | 01-01-2000
122 | Jammu | RS Pura CHC | JKZ1JAMCH0100111 | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NAT Steel | 16HA/E | 2773 | Ot 2nd floor |  | 350000 | 13-05-2023
123 | Jammu | RS Pura CHC | JKZ1JAMCH0100112 | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NAT Steel | 16HA/E | 2771 | Ot 2nd floor |  | 350000 | 13-05-2023
124 | Jammu | RS Pura CHC | JKZ1JAMCH0100009 | Electrosurgical Units (Cautery Machine) | Medichem Electronics | Medilap400 | 1037/j12 | OT |  | 200000 | 01-01-2000
125 | Jammu | RS Pura CHC | JKZ1JAMCH0100104 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | HBD-116 | BE04G 0GAS0 0QEHA D0035 | MCH |  | 50000 | 01-01-2000
126 | Jammu | RS Pura CHC | JKZ1JAMCH0100101 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | HBD-116 | BE04G4E2600B2A860095 | MCH |  | 50000 | 01-01-2000
127 | Jammu | RS Pura CHC | JKZ1JAMCH0100046 | Electrocardiographs, Single-Channel ( Single Channel ECG ) | BPL | 6108T | ABMJ6M532 | Emergency Ward |  | 39198.88 | 01-01-2000
128 | Jammu | RS Pura CHC | JKZ1JAMCH0100052 | Electrocardiographs, Single-Channel ( Single Channel ECG ) | BPL | 108T-DIGI | CGML4A22252 | OPD |  | 39198.88 | 01-01-2000
129 | Jammu | RS Pura CHC | JKZ1JAMCH0100051 | Electrocardiographs, Three-Channel ( 3 Channel ECG) | BPL | Cardiart 6208 view | DETE7A6703 | OPD |  | 39198.88 | 01-01-2000
130 | Jammu | RS Pura CHC | JKZ1JAMCH0100066 | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | JAY-5 | 5252004280031220 | OT |  | 36000 | 01-01-2000
131 | Jammu | RS Pura CHC | JKZ1JAMCH0100006 | Oximeters, Pulse, tabletop(Tabletop Pulse Oximeter) | Riransa Inc. Heath care P.ltd | P010 | P0101409002 | OT |  | 35838.88 | 01-01-2000
132 | Jammu | RS Pura CHC | JKZ1JAMCH0100038 | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | NA | NA5 | Lab |  | 25000 | 01-01-2000
133 | Jammu | RS Pura CHC | JKZ1JAMCH0100039 | Baths, Water, Laboratory (Water Bath) | NA | NA | NA | Lab |  | 18500 | 01-01-2000
134 | Jammu | RS Pura CHC | JKZ1JAMCH0100037 | Incubators, Test Tube (Lab Incubator) | Tempstar | NA | NA | Lab |  | 15000 | 01-01-2000
135 | Jammu | RS Pura CHC | JKZ1JAMCH0100026 | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NA | NA | NA | OT |  | 47040 | 01-01-2000
136 | Jammu | RS Pura CHC | JKZ1JAMCH0100064 | Lights, Surgical - 2 Dome - LED(2 Dome LED Surgical OT Light) | Cognate India | Vision 18+12 | 10-CR-10-18 | OT |  | 354000 | 01-01-2000
137 | Jammu | RS Pura CHC | JKZ1JAMCH0100042 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | NA-JKZ1JAMCH0100042 | Emergency Ward |  | 36000 | 01-01-2000
138 | Jammu | RS Pura CHC | JKZ1JAMCH0100023 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | Dental |  | 5000 | 01-01-2000
139 | Jammu | RS Pura CHC | JKZ1JAMCH0100140 | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | Jay-5 | MZJ5S-159597 | 2nd Floor-Covid Ward |  | 36000 | 22-08-2020
140 | Jammu | RS Pura CHC | JKZ1JAMCH0100050 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTC1J6870 | ICU |  | 36000 | 01-01-2000
141 | Jammu | RS Pura CHC | JKZ1JAMCH0100047 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTCJ6877 | ICU |  | 36000 | 01-01-2000
142 | Jammu | RS Pura CHC | JKZ1JAMCH0100015 | Anesthesia Units, Boyles (Boyles Apparatus) | Boc India Ltd | Boyle Basic | NA-JKZ1JAMCH0100015 | OT |  | 60000 | 01-01-2000
143 | Jammu | RS Pura CHC | JKZ1JAMCH0100005 | Anesthesia Units, Boyles (Boyles Apparatus) | NA | NA | NA-JKZ1JAMCH0100005 | OT |  | 60000 | 01-01-2000
144 | Jammu | RS Pura CHC | JKZ1JAMCH0100035 | Analyzers, Laboratory, Urine, Semiautomated ( Semi Auto Urine Analyzer) | Siemens | (240)10379676 | (21)292044 | Lab |  | 75000 | 01-01-2000
145 | Jammu | RS Pura CHC | JKZ1JAMCH0100058 | Scanning systems, ultrasonic, Portable (Portable ultrasound Scanner) | BPL | US-9701 | EFt03j1036 | OPD |  | 350000 | 01-01-2000
146 | Jammu | RS Pura CHC | JKZ1JAMCH0100110 | Sterilizing Units, Ultraviolet ( UV Chamber) | Bestodent India Pvt. Ltd | Classic | 4v besto 12 | Dental Dept |  | 8000 | 25-11-2021
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430008 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-100 C | ND100C-DGH02014-15-270 | LAB |  | 1200 | 01-01-2000
2 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430019 | Nebulizers, Nonheated (Nebulizer) | Medicare product inc. | NA | 10107 | LABOUR ROOM |  | 1747.2 | 01-01-2000
3 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430020 | Nebulizers, Nonheated (Nebulizer) | Medicare product inc. | NA | NA | LABOUR ROOM |  | 1747.2 | 01-01-2000
4 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430021 | Nebulizers, Nonheated (Nebulizer) | Medicare product inc. | NA | 10244 | LABOUR ROOM |  | 1747.2 | 01-01-2000
5 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430028 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | 443528 | OPD |  | 5000 | 01-01-2000
6 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430006 | Microscopes, Light, Laboratory (Binocular Microscope) | NA | NA | 9802124 | LAB |  | 30000 | 01-01-2000
7 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430001 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Confident dental equipment | NA | NA | DENTAL |  | 192000 | 01-01-2000
8 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430035 | Cutters, Syringe/Needle (Syringe cutter) | NA | N/A | N/A-JKZ1JAMPH0430035 | DENTAL SECTION |  | 1200 | 14-01-2021
9 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430036 | Cutters, Syringe/Needle (Syringe cutter) | Sapna | N/A | N/A-JKZ1JAMPH0430036 | WARD 1 |  | 1200 | 12-08-2020
10 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430017 | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | Lifeline Medical Devices | NA | 7034E110195100100739 | LABOUR ROOM |  | 5000 | 01-01-2000
11 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430025 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | LABOUR ROOM |  | 5000 | 01-01-2000
12 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430027 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | OPD |  | 5000 | 01-01-2000
13 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430023 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | LABOUR ROOM |  | 5000 | 01-01-2000
14 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430007 | Microscopes, Light, Laboratory (Binocular Microscope) | Olympus India Pvt Ltd | MAGNUS MLXi PLUS | 17B1099 | LAB |  | 30000 | 01-01-2000
15 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430012 | Tables, Operating Hydraulic (OT Table Hydraulic) | NA | NA | NA | OPD |  | 90999 | 01-01-2000
16 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430029 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
17 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430031 | Sphygmomanometers, Electronic (Electronic BP Machine) | NA | NA | NA | GENERAL WARD |  | 1200 | 01-01-2000
18 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430033 | Oxygen Concentrators (Oxygen Concentrator) | Microtek | OXYFLOW10M | 21I23D401AA014894 | LABOUR ROOM-Ground Floor |  | 36000 | 01-07-2020
19 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430032 | Sterilizing Units(Instrument Sterilizer) | Geeta Industries | NA | 17857 | Dental section |  | 5000 | 01-01-2000
20 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430018 | Scales, Infant, Mechanical (Infant wieghing machine) | Crown | NA | NA | LABOUR ROOM |  | 5000 | 01-01-2000
21 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430014 | Ovens, Drying (Hot Air Oven) | Tempstar | NA | NA | OPD |  | 10000 | 01-01-2000
22 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430003 | Sterilizing Units, Steam, Tabletop(13 Litre Table top) | Techno India | NA | NA | DENTAL |  | 5000 | 01-01-2000
23 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430022 | Sphygmomanometers, Electronic (Electronic BP Machine) | BPL | 102180B1 | GBTA58E336 | GENERAL WARD |  | 1200 | 01-01-2000
24 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430030 | Sphygmomanometers, Electronic (Electronic BP Machine) | Accusure | BP-1209 | 19031185 | GENERAL WARD |  | 1200 | 01-01-2000
25 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430013 | Centrifuges, Tabletop (Centrifuge) | Remi | R-303 | KELC-5559 | OPD |  | 38725.24 | 01-01-2000
26 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430005 | Centrifuges, Tabletop (Centrifuge) | Elite Deluxe | NA | NA | LAB |  | 38725.24 | 01-01-2000
27 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430010 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | HBD-116 | NA-JKZ1JAMPH0430010 | IMMUNIZATION |  | 50000 | 01-01-2000
28 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430009 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | HBC-70 | BE07F-4E0N0-0B2A6-90004 | IMMUNIZATION |  | 65603 | 01-01-2000
29 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430011 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | HBC-70 | BE07F-4E0N0-0B2A6-L0179 | IMMUNIZATION |  | 65603 | 01-01-2000
30 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430004 | Incubators, Test Tube (Lab Incubator) | NA | NA | NA | LAB |  | 15000 | 01-01-2000
31 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430015 | Lights, Surgical, Mobile Halogen (Halogen Mobile OT Light) | S.S technomed | NA | NA | LABOUR ROOM |  | 75000 | 01-01-2000
32 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430024 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTCIJ6942 | GENERAL WARD |  | 36000 | 01-01-2000
33 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430016 | Aspirators (Suction Machine) | Anand surgical industries | NA | NA | LABOUR ROOM |  | 10000 | 01-01-2000
34 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430026 | Aspirators (Suction Machine) | NA | NA | NA | OPD |  | 10000 | 01-01-2000
35 | Jammu | Simbal Camp, RS Pura PHC | JKZ1JAMPH0430002 | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Urilab Systems | RH-133 | 60090 | LAB |  | 6000 | 01-01-2000
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420028 | Cutters, Syringe/Needle (Syringe cutter) | NA | NA | NA | OPD |  | 1200 | 01-01-2000
2 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420023 | Cutters, Syringe/Needle (Syringe cutter) | Life care | NA | NA | OPD |  | 1200 | 01-01-2000
3 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420010 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | HBC-70 | NA | MCH SECTION |  | 65603 | 01-01-2000
4 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420009 | Aspirators (Suction Machine) | Kannu Impex Pvt Ltd | NA | NA | OPD |  | 10000 | 01-01-2000
5 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420027 | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
6 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420024 | Nebulizers, Nonheated (Nebulizer) | Swan Environmental | ST 1095 | NA | OPD |  | 1747.2 | 01-01-2000
7 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420001 | Sphygmomanometers, Mercury (Mercury BP Machine) | Diamond | NA | NA | OPD |  | 1000 | 01-01-2000
8 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420007 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | LABOUR ROOM |  | 5000 | 01-01-2000
9 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420004 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-120 | NA | LAB SECTION |  | 1200 | 01-01-2000
10 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420020 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
11 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420014 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
12 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420006 | Microscopes, Light, Laboratory (Binocular Microscope) | NA | NA | NA | LAB SECTION |  | 30000 | 01-01-2000
13 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420002 | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | PZB-22 | N/A | LAB SECTION |  | 30000 | 01-01-2000
14 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420013 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
15 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420012 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
16 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420025 | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | Shenzhen Bestman Instrument Co | BF-500D | BSMNABFXNA50006057 | OPD |  | 5000 | 01-01-2000
17 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420021 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
18 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420022 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
19 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420015 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
20 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420019 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
21 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420008 | Scales, Infant, Mechanical (Infant wieghing machine) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
22 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420017 | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Allied medical | NA | NA | OPD |  | 1000 | 01-01-2000
23 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420026 | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
24 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420003 | Centrifuges, Tabletop (Centrifuge) | NA | NA | NA | LAB SECTION |  | 38725.24 | 01-01-2000
25 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420011 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | MF-144 | 20032109223 | MCH SECTION |  | 50000 | 01-01-2000
26 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420018 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | HBC-70 | 800580E0100BQ49T0320 | OPD |  | 65603 | 01-01-2000
27 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420030 | Oxygen Concentrators (Oxygen Concentrator) | Microtek | Oxyflow 10m | 211230401AA014827 | MCH GROUND FLOOR |  | 36000 | 23-08-2019
28 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420029 | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | JAY-10 | MZJ10D 48349 | Mch |  | 36000 | 01-01-2019
29 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420016 | Aspirators (Suction Machine) | NA | NA | NA | OPD |  | 10000 | 01-01-2000
30 | Jammu | Satriyian RS Pura PHC | JKZ1JAMPH0420005 | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | NA | 1709013116 | LAB SECTION |  | 15000 | 01-01-2000
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410002 | Cutters, Syringe/Needle (Syringe cutter) | Life care | NA | NA | OPD |  | 1200 | 01-01-2000
2 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410006 | Cutters, Syringe/Needle (Syringe cutter) | Life care | NA | NA | LAB SECTION |  | 1200 | 01-01-2000
3 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410025 | Sphygmomanometers, Mercury (Mercury BP Machine) | Ashoka | NA | NA | OPD |  | 1000 | 01-01-2000
4 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410052 | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Wrig Nanosystems Pvt. Ltd. | TRUE Hb | W2294770 | Laboratory Ground floor |  | 15000 | 04-08-2017
5 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410004 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
6 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410022 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
7 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410027 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | OPD |  | 5000 | 01-01-2000
8 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410017 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
9 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410008 | Microscopes, Light, Laboratory (Binocular Microscope) | Olympus India Pvt Ltd | Magnus MLXi PLUS | NA | LAB SECTION |  | 30000 | 01-01-2000
10 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410039 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Bestodent India Pvt. Ltd | NA | NA | DENTAL SECTION |  | 192000 | 01-01-2000
11 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410030 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
12 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410033 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
13 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410031 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
14 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410028 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | OPD |  | 5000 | 01-01-2000
15 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410049 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-60 | NA - JKZ1JAMPH0410049 | MCH, GROUND FLOOR |  | 1200 | 08-08-2018
16 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410003 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Symax Dental Equipments | NA | NA | OPD |  | 192000 | 01-01-2000
17 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410053 | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | NA | NA | GMD-420033 | Laboratory Ground floor |  | 1500 | 18-08-2018
18 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410024 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
19 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410043 | Aspirators (Suction Machine) | Jainco | Na | Na-JKZ1JAMPH0410043 | Store/Ground Floor | Ground floor | 10000 | 01-01-2000
20 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410019 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
21 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410037 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
22 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410032 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
23 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410029 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
24 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410021 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | 07B6930 | OPD |  | 5000 | 01-01-2000
25 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410011 | Radiographic/Fluoroscopic Systems, General-Purpose -300 mA (General X Ray - 300mA) | Allengers | AMSNA325 FS/M | 2K111230011NAX | RADIOLOGY |  | 450000 | 01-01-2000
26 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410023 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
27 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410018 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
28 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410020 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Virgo | NA | NA | OPD |  | 1000 | 01-01-2000
29 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410016 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
30 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410010 | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | RMD Mediaids LTD | Gluco Care Sense | RMDB059889 | LAB SECTION |  | 1500 | 01-01-2000
31 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410015 | Scales, Infant, Digital (Digital Infant Scale) | Ramon Surgical Company | NA | NA | OPD |  | 5000 | 01-01-2000
32 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410038 | Scales, Infant, Digital (Digital Infant Scale) | Equinox | NA | NA | OPD |  | 5000 | 01-01-2000
33 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410001 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | NA | 83865 | OPD |  | 1000 | 01-01-2000
34 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410026 | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | NA | NA | OPD |  | 1000 | 01-01-2000
35 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410007 | Centrifuges, Tabletop (Centrifuge) | NA | NA | NA | LAB SECTION |  | 38725.24 | 01-01-2000
36 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410012 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | HBD-116 | NA-JKZ1JAMPH0410012 | MCH SECTION |  | 50000 | 01-01-2000
37 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410036 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | HBD-116 | NA-JKZ1JAMPH0410036 | OPD |  | 50000 | 01-01-2000
38 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410013 | Refrigerators, Ice Lined-150L ( 150L ILR ) | Vestfrost | VLS300 | 20171870455 | MCH SECTION |  | 158829.59 | 01-01-2000
39 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410035 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | NA | NA | OPD |  | 65603 | 01-01-2000
40 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410009 | Incubators, Test Tube (Lab Incubator) | NA | NA | NA | LAB SECTION |  | 15000 | 01-01-2000
41 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410014 | Lights, Surgical, 1 Dome, Halogen (1 Dome Halogen OT Light) | NA | NA | NA | OPD |  | 75000 | 01-01-2000
42 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410034 | Aspirators (Suction Machine) | NA | NA | NA | OPD |  | 10000 | 01-01-2000
43 | Jammu | Sai, RS Pura PHC (sei) | JKZ1JAMPH0410005 | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | NA | 1709013216 | LAB SECTION |  | 15000 | 01-01-2000
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390006 | Sphygmomanometers, Electronic (Electronic BP Machine) | Diamond | BPDG134 | NA1 | MCH/FIRST FLOOR |  | 1200 | 01-01-2000
2 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390013 | Nebulizers, Nonheated (Nebulizer) | Swan Environmental | ME-20 | NA-JKZ1JAMPH0390013 | MCH/FIRST FLOOR |  | 1747.2 | 01-01-2000
3 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390022 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namat | Na | Na-JKZ1JAMPH0390022 | Store |  | 1000 | 17-11-2020
4 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390009 | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | NA | NA8 | MCH/FIRST FLOOR |  | 1000 | 01-01-2000
5 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390008 | Sphygmomanometers, Mercury (Mercury BP Machine) | Jainco | NA | NA9 | MCH/FIRST FLOOR |  | 1000 | 01-01-2000
6 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390014 | Nebulizers, Nonheated (Nebulizer) | MHS Medicare India | ARROW NEB | 63002602 | MCH/FIRST FLOOR |  | 1747.2 | 01-01-2000
7 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390011 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Ramson | Crown | NA12 | MCH/FIRST FLOOR |  | 1000 | 01-01-2000
8 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390007 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-60 | NA25 | MCH/FIRST FLOOR |  | 1200 | 01-01-2000
9 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390012 | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Kohinoor | EB1002 | NA-JKZ1JAMPH0390012 | MCH/FIRST FLOOR |  | 1000 | 01-01-2000
10 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390027 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-60 | Na-JKZ1JAMPH0390027 | Store |  | 1200 | 17-11-2020
11 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390029 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-60 | NA-JKZ1JAMPH0390029 | Store |  | 1200 | 17-11-2020
12 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390026 | Cutters, Syringe/Needle (Syringe cutter) | Microsil India | ND-60 | Na-JKZ1JAMPH0390026 | Store |  | 1200 | 17-11-2020
13 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390028 | Cutters, Syringe/Needle (Syringe cutter) | Swan | Na | Na-JKZ1JAMPH0390028 | Store |  | 1200 | 17-11-2020
14 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390032 | Nebulizers, Nonheated (Nebulizer) | BPL | BREATHE EZEEN3 | GNTA5L3650 | 1 Floor-Opd |  | 1747.2 | 17-11-2020
15 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390030 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Ramon Surgical Co. | Crown | Na-JKZ1JAMPH0390030 | Store |  | 1000 | 17-11-2020
16 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390005 | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Equal | NA | NA95 | OPD |  | 1000 | 01-01-2000
17 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390033 | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | NA | NA-JKZ1JAMPH0390033 | LABORATORY |  | 25000 | 14-11-2019
18 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390021 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namat | Na | Na-JKZ1JAMPH0390021 | Store |  | 1000 | 17-11-2020
19 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390019 | Sphygmomanometers, Mercury (Mercury BP Machine) | DELUXE | NA | 98132085 | Store |  | 1000 | 17-11-2020
20 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390025 | Sphygmomanometers, Mercury (Mercury BP Machine) | Profact | Na | Na-JKZ1JAMPH0390025 | Store |  | 1000 | 17-11-2020
21 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390020 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namat | Na | Na-JKZ1JAMPH0390020 | Store |  | 1000 | 17-11-2020
22 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390001 | Sphygmomanometers, Mercury (Mercury BP Machine) | Diamond | NA | NA | OPD |  | 1000 | 01-01-2000
23 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390024 | Sphygmomanometers, Mercury (Mercury BP Machine) | Novaphone | Na | 2576544-08 | Store |  | 1000 | 17-11-2020
24 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390023 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namat | Na | Na-JKZ1JAMPH0390023 | Store |  | 1000 | 17-11-2020
25 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390002 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | HBD-116 | BE04G0GAS000EHA90100 | MCH SECTION |  | 50000 | 01-01-2000
26 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390003 | Refrigerators, Ice Lined-150L ( 150L ILR ) | Vestfrost | VLS300 | 20171870457 | OPD |  | 158829.59 | 01-01-2000
27 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390004 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | HBC-70 | NA | OPD |  | 65603 | 01-01-2000
28 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390031 | Oxygen Concentrators (Oxygen Concentrator) | Microtek | Oxyflow 10M | 21123D401AA014817 | OPD/IST FLOOR |  | 36000 | 17-11-2020
29 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390010 | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | HB201+ | 1709013217 | MCH/FIRST FLOOR |  | 15000 | 01-01-2000
30 | Jammu | Rathana, RS Pura PHC | JKZ1JAMPH0390018 | Microscopes, Light, Laboratory (Binocular Microscope) | Analab | Na | Na-JKZ1JAMPH0390018 | 1st floor-Mch |  | 30000 | 01-01-2014
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640013 | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | NA | NA | store |  | 1000 | 01-01-2000
2 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640002 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | NMK-142 | 44710767 | MCH section |  | 65603 | 01-01-2000
3 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640001 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | HBD-116 | BE04G0GAS00QEHA0126 | MCH section |  | 50000 | 01-01-2000
4 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640010 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Deluxe | NA | store |  | 1000 | 01-01-2000
5 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640009 | Sphygmomanometers, Electronic (Electronic BP Machine) | Omron healthcare Europe | HEM 7124 | 20170902936uG | opd |  | 1200 | 01-01-2000
6 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640011 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Deluxe | NA | store |  | 1000 | 01-01-2000
7 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640020 | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | NA | NA | store |  | 1000 | 01-01-2000
8 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640023 | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | SS-OC-50 | SS-M202107051199 | Ward |  | 36000 | 01-01-2000
9 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640018 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | store |  | 5000 | 01-01-2000
10 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640008 | Sterilizing Units Glass Bead (Glass bead Sterilizer) | ISHI-DENT | NA | NA | dental section |  | 3600 | 01-01-2000
11 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640016 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | store |  | 5000 | 01-01-2000
12 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640017 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | store |  | 5000 | 01-01-2000
13 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640015 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | store |  | 5000 | 01-01-2000
14 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640006 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Confident dental equipment | NA | NA | dental section |  | 192000 | 01-01-2000
15 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640003 | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Kohinoor | NA | NA-JKZ1JAMPH4640003 | MCH section |  | 1000 | 01-01-2000
16 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640007 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | dental section |  | 5000 | 01-01-2000
17 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640014 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | store |  | 5000 | 01-01-2000
18 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640004 | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Docbel barun | NA | NA-JKZ1JAMPH4640004 | MCH section |  | 1000 | 01-01-2000
19 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640005 | Cutters, Syringe/Needle (Syringe cutter) | Life care | NA | NAJKZ1JAMPH4640005 | MCH section |  | 1200 | 01-01-2000
20 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640022 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Bestodent India Pvt. Ltd | Besto Classic | CH-42 | Dental section |  | 192000 | 01-01-2000
21 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640019 | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | NA | NA | store |  | 1000 | 01-01-2000
22 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640012 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Deluxe | NA | store |  | 1000 | 01-01-2000
23 | Jammu | NTPHC Miran Sahib | JKZ1JAMPH4640024 | Sterilizing Units, Ultraviolet ( UV Chamber) | Bestodent India Pvt. Ltd | NA | BIPL118 | DENTAL SECTION |  | 8000 | 06-10-2020
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660014 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | SB-142 | 25013165 | MCH section |  | 50000 | 01-01-2000
2 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660007 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTH2J9003 | general ward |  | 36000 | 01-01-2000
3 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660004 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-60 | NAJKZ1JAMPH4660004 | dental section |  | 1200 | 01-01-2000
4 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660016 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-120 | NAJKZ1JAMPH4660016 | MCH section |  | 1200 | 01-01-2000
5 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660010 | Nebulizers, Nonheated (Nebulizer) | Accusure | ASSL | NA | general ward |  | 1747.2 | 01-01-2000
6 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660017 | Sphygmomanometers, Mercury (Mercury BP Machine) | Accusure | NA | NA | MCH section |  | 1000 | 01-01-2000
7 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660012 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | NA | NA | MCH section |  | 1000 | 01-01-2000
8 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660019 | Oxygen Concentrators (Oxygen Concentrator) | Oxymed | NA | 4502107230131478 | Store |  | 36000 | 01-01-2000
9 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660020 | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | NA | NA | NA-JKZ1JAMPH4660020 | Ward |  | 1000 | 01-01-2000
10 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660013 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Deluxe | NA | MCH section |  | 1000 | 01-01-2000
11 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660005 | Sterilizing Units Glass Bead (Glass bead Sterilizer) | Chesa Dental Care Service Ltd. | NA | NA | dental section |  | 3600 | 01-01-2000
12 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660006 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | dental section |  | 5000 | 01-01-2000
13 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660002 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Phoenix medical systems | Zest | CH1617214 | dental section |  | 192000 | 01-01-2000
14 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660009 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | general ward |  | 5000 | 01-01-2000
15 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660001 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | Suzi Dent | NA | dental section |  | 192000 | 01-01-2000
16 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660011 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | Dispensary |  | 5000 | 01-01-2000
17 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660008 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | general ward |  | 5000 | 01-01-2000
18 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660021 | Lights, Dental, Intraoral ( Light Cure Unit ) | NA | Na | Na-JKZ1JAMPH4660021 | Dental Dept |  | 15000 | 13-09-2020
19 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660015 | Refrigerators, Ice Lined-150L ( 150L ILR ) | Vestfrost | VLS300 | 20171972609 | MCH section |  | 158829.59 | 01-01-2000
20 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660018 | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | Oxy Flow 10M | 21123D401AA014812 | Ward | Ground floor | 36000 | 01-01-2000
21 | Jammu | NTPHC Dablehar | JKZ1JAMPH4660003 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | dental section |  | 5000 | 01-01-2000
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650011 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | HBC-70 | BQ49Q0362 | immunization room |  | 65603 | 01-01-2000
2 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650017 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-100c | NAJKZ1JAMPH4650017 | store |  | 1200 | 01-01-2000
3 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650013 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Deluxe | NA | store |  | 1000 | 01-01-2000
4 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650003 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTH259010 | ward |  | 36000 | 01-01-2000
5 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650006 | Cutters, Syringe/Needle (Syringe cutter) | NA | NA | NAJKZ1JAMPH4650006 | ward |  | 1200 | 01-01-2000
6 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650010 | Sphygmomanometers, Electronic (Electronic BP Machine) | Accusure | NA | NA | opd |  | 1200 | 01-01-2000
7 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650007 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | NA | 20032109180 | immunization room |  | 65603 | 01-01-2000
8 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650022 | Nebulizers, Nonheated (Nebulizer) | NA | NA | NA-JKZ1JAMPH4650022 | WARD |  | 1747.2 | 01-01-2000
9 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650005 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | 4H2522 | ward |  | 5000 | 01-01-2000
10 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650004 | Nebulizers, Nonheated (Nebulizer) | Blue Diamond | NA | NA | ward |  | 1747.2 | 01-01-2000
11 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650020 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | store |  | 5000 | 01-01-2000
12 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650012 | Sphygmomanometers, Mercury (Mercury BP Machine) | Bio Plus | NA | NA | store |  | 1000 | 01-01-2000
13 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650018 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | store |  | 5000 | 01-01-2000
14 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650001 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Unicorn Denmart | NA | 1801040 | dental section |  | 192000 | 01-01-2000
15 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650002 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | dental section |  | 5000 | 01-01-2000
16 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650015 | Radiographic Units, Mobile (Mobile X Ray -60 mA) | GEM Optical | gm | SR2K1903XHRA647 | X-Ray |  | 225000 | 01-01-2000
17 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650008 | Sphygmomanometers, Electronic (Electronic BP Machine) | Accusure | NA | NA | opd |  | 1200 | 01-01-2000
18 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650009 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | HBC-70 | NA | immunization room |  | 65603 | 01-01-2000
19 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650014 | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | WRDL171M20 | inc010906672 | immunization room |  | 25000 | 01-01-2000
20 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650016 | Radiographic Units, Dental, Extraoral (Dental X Ray) | Spox | NA | sx-FDX-043 | dental section |  | 125000 | 01-01-2000
21 | Jammu | NTPHC Chakrohi | JKZ1JAMPH4650019 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | store |  | 5000 | 01-01-2000
Sl. No | District | Hospital | ME Number | ME Name | Manufacturer | Model No | Serial No | Department | Location | Equipment Cost | Purchase Date
1 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170019 | Cutters, Syringe/Needle (Syringe cutter) | Microsil | ND-100 | NA | EMERGENCY |  | 1200 | 01-01-2000
2 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170027 | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | Shenzhen Bestman Instrument Co | NA | NA | GENERAL WARD |  | 5000 | 01-01-2000
3 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170031 | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | Oxy Flow 10M | 21L23D401AA014809 | Ward |  | 36000 | 01-01-2000
4 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170030 | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcare | NA | B214120627DS | WARD |  | 36000 | 01-01-2000
5 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170021 | Nebulizers, Nonheated (Nebulizer) | Swan Environmental | ST 1095 | 707 | EMERGENCY |  | 1747.2 | 01-01-2000
6 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170032 | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | JAY-10 | MZJ10D48396 | WARD |  | 36000 | 01-01-2000
7 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170029 | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | Diamond Gold | NA | Labour room | Labour Room | 1000 | 01-01-2000
8 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170024 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | OPD |  | 5000 | 01-01-2000
9 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170001 | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Suz- dent India Pvt Ltd | NA | NA | DENTAL |  | 192000 | 01-01-2000
10 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170014 | Microscopes, Light, Laboratory, Monocular(Monocular Microscope) | Labomed | 81-M | 898196 | LAB |  | 10000 | 01-01-2000
11 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170016 | Microscopes, Light, Laboratory (Binocular Microscope) | NA | NA | NA | LAB |  | 30000 | 01-01-2000
12 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170015 | Microscopes, Light, Laboratory (Binocular Microscope) | Olympus India Pvt Ltd | NA | NA | LAB |  | 30000 | 01-01-2000
13 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170007 | Lights, Examination, Halogen(Examination Light) | NA | NA | NA | LABOUR ROOM |  | 10000 | 01-01-2000
14 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170002 | Sterilizing Units(Instrument Sterilizer) | NA | NA | NA | DENTAL |  | 5000 | 01-01-2000
15 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170012 | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | PZRM-26 | 61076 | LAB |  | 30000 | 01-01-2000
16 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170028 | Fetal Heart Detectors, Ultrasonic (Fetal doppler) | Shenzhen Bestman Instrument Co | NA | NA | GENERAL WARD |  | 5000 | 01-01-2000
17 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170010 | Cutters, Syringe/Needle (Syringe cutter) | NA | NA | NA | LAB |  | 1200 | 01-01-2000
18 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170033 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Vestfrost | NA | NA-JKZ1JAMPH0170033 | COLD CHAIN/IMMUNISATION |  | 65603 | 11-07-2021
19 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170034 | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Longlife | SW-2100 | 220700620 | MO OFFICE |  | 1000 | 22-09-2023
20 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170023 | Sterilizing Units, Steam (Autoclave Vertical) | SSC | NA | NA | OPD |  | 40949.54 | 01-01-2000
21 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170003 | Radiographic/Fluoroscopic Systems, General-Purpose -300 mA (General X Ray - 300mA) | Allengers | ALLENGERS 325 | 2K111030749-X | RADIOLOGY |  | 450000 | 01-01-2000
22 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170005 | Oxygen Concentrators (Oxygen Concentrator) | BPL | OG4203 | AXTC1J6944 | LABOUR ROOM |  | 36000 | 01-01-2000
23 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170008 | Scales, Infant, Mechanical (Infant wieghing machine) | NA | NA | NA | LABOUR ROOM |  | 5000 | 01-01-2000
24 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170026 | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | BP-01 | 1902 | GENERAL WARD |  | 1200 | 01-01-2000
25 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170011 | Centrifuges, Tabletop (Centrifuge) | NA | NA | NA | LAB |  | 38725.24 | 01-01-2000
26 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170018 | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | HBD-116 | NA-JKZ1JAMPH0170018 | IMMUNIZATION |  | 50000 | 01-01-2000
27 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170017 | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | HBC-70 | BE07F-4E0NO-0B2A6-K0034 | IMMUNIZATION |  | 65603 | 01-01-2000
28 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170009 | Microscopes, Light, Laboratory (Binocular Microscope) | Olympus India Pvt Ltd | MAGNUS MLXi PLUS | 17B1078 | LAB |  | 30000 | 01-01-2000
29 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170006 | Lights, Surgical, Mobile Halogen (Halogen Mobile OT Light) | NA | NA | NA | LABOUR ROOM |  | 75000 | 01-01-2000
30 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170013 | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | PZRM-26 | 62994 | LAB |  | 30000 | 01-01-2000
31 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170004 | Aspirators (Suction Machine) | NA | NA | NA-JKZ1JAMPH0170004 | Shift-R.S.Poora CHC-OT |  | 10000 | 01-01-2000
32 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170022 | Aspirators (Suction Machine) | NA | NA | NA | OPD |  | 10000 | 01-01-2000
33 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170025 | Aspirators (Suction Machine) | K life | NA | NA | OPD |  | 10000 | 01-01-2000
34 | Jammu | Badyal Brahmana RS Pura PHC | JKZ1JAMPH0170020 | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | NA | NA | EMERGENCY |  | 5000 | 01-01-2000

## My Sheet (2)
Sl. No | Hospital | ME Name | Manufacturer | Department
1 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | Emergency ward
2 | RS Pura CHC | Lights, Surgical, 1 Dome, Halogen (1 Dome Halogen OT Light) | Technomed | LABOUR ROOM/GROUND FLOOR
3 | RS Pura CHC | Aspirators (Suction Machine) | Esteem industries | OT
4 | RS Pura CHC | Aspirators (Suction Machine) | NA | OT
5 | RS Pura CHC | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Allied medical | OT
6 | RS Pura CHC | Sterilizing Units, Steam (Autoclave Vertical) | Esteem industries | OT
7 | RS Pura CHC | Refrigerators, Laboratory (Lab refrigerator) | Samsung | Central Lab/Ground Floor
8 | RS Pura CHC | Sphygmomanometers, Electronic (Electronic BP Machine) | Pagoda | CASUALITY (EMERGENCY)
9 | RS Pura CHC | Sterilizing Units, Steam, B- Type ( B Type Autoclave ) | Confident dental equipment | Dental/Ground Floor
10 | RS Pura CHC | Fumigation Unit (Fumigation Machine) | ULV FOGGER | OT/Second Floor
11 | RS Pura CHC | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | Lab
12 | RS Pura CHC | Electrocardiographs, Three-Channel ( 3 Channel ECG) | SHENZEN UNICARE ELECTRONIC | ECG section
13 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | BPL | Emergency 2
14 | RS Pura CHC | Refrigerators, Ice Lined-200L ( 200L ILR ) | Vestfrost | MCH
15 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | 1st Floor- Labour Room
16 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | 1st Floor- Labour Room
17 | RS Pura CHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | 1st Floor- Labour Room
18 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Labour room
19 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | NA | OPD
20 | RS Pura CHC | Refrigerators, Ice Lined-150L ( 150L ILR ) | Godrej | MCH
21 | RS Pura CHC | Refrigerators, Ice Lined-150L ( 150L ILR ) | Vestfrost | MCH
22 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | 1st Floor - Labour Room
23 | RS Pura CHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | 1st Floor- Labour Room
24 | RS Pura CHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | 1st Floor- Labour Room
25 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | 1st Floor- Labour Room
26 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | 2nd Floor-Covid Ward
27 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | 1st Floor- Labour Room
28 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | 1st Floor- Labour Room
29 | RS Pura CHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI Healthcare Pvt. Ltd | 1st Floor- Labour Room
30 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | 1st Floor- Labour Room
31 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NEOTECH | 1st Floor- Labour Room
32 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | 2nd Floor-Covid Ward
33 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | 1st Floor-Covid ward
34 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | 2nd Floor-Covid Ward
35 | RS Pura CHC | Cast Cutters, Electric ( Plaster Cutter ) | Oscimed ergo | OT General
36 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Emergency Ward
37 | RS Pura CHC | Centrifuges, Tabletop (Centrifuge) | NA | Lab
38 | RS Pura CHC | Freezer Dead Body(Dead Body Freezer) | SK Scientific and Surgicals | Ground Floor - Mortuary Room
39 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Labour room
40 | RS Pura CHC | Nebulizers, Nonheated (Nebulizer) | DR TRUST | Emergency Ward
41 | RS Pura CHC | Nebulizers, Nonheated (Nebulizer) | Entero Healthcare Solution | Emergency 2
42 | RS Pura CHC | Ophthalmoscopes (Ophthalmoscopes) | Heine | OPD
43 | RS Pura CHC | Sphygmomanometers, Electronic (Electronic BP Machine) | Morepen lab. Ltd | Emergency Ward
44 | RS Pura CHC | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd | 2nd Floor-Covid Ward
45 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | Emergency ward
46 | RS Pura CHC | Lights, Dental, Intraoral ( Light Cure Unit ) | Waldent | DENTAL SECTION GROUND FLOOR
47 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OT
48 | RS Pura CHC | Electrosurgical Units (Cautery Machine) | Xceilance medical technology | OT
49 | RS Pura CHC | Aspirators, Foot (Foot Suction) | Esteem industries | Emergency 2
50 | RS Pura CHC | Defibrillators, External, Manual (Defibrillator) | Mediana | Labour room
51 | RS Pura CHC | Sterilizing Units, Steam (Autoclave Vertical) | NA | OT
52 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | Labour room
53 | RS Pura CHC | Sterilizing Units(Instrument Sterilizer) | NA | LABOUR ROOM/GROUND FLOOR
54 | RS Pura CHC | Microscopes, Light, Operating (Operating Microscope) | Bino Scientific | OT
55 | RS Pura CHC | Nebulizers, Nonheated (Nebulizer) | Meditive | Emergency Ward
56 | RS Pura CHC | Aspirators (Suction Machine) | NA | LABOUR ROOM/GROUND FLOOR
57 | RS Pura CHC | Microscopes, Light, Laboratory (Binocular Microscope) | MLW Intermed Germany | Lab
58 | RS Pura CHC | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Contec Medical System | OT
59 | RS Pura CHC | Defibrillators, External, Manual (Defibrillator) | Mediana | OT
60 | RS Pura CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Olympus India Pvt Ltd | Lab
61 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Ground - Mch
62 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Ground - Mch
63 | RS Pura CHC | Microscopes, Light, Laboratory (Binocular Microscope) | MLW Intermed Germany | Lab
64 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | Esteem industries | Dental
65 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | NA | Lab
66 | RS Pura CHC | Sterilizing Units(Instrument Sterilizer) | NA | Emergency Ward
67 | RS Pura CHC | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | Lab
68 | RS Pura CHC | Analyzers, Laboratory, Clinical chemistry, Manual (Semi auto analyzer) | Labsystems Diagnostics | LABORATORY
69 | RS Pura CHC | Analyzers, Laboratory, Hematology, WBC, Point of care(5 Part WBC Point of care) | Hemocue | Lab
70 | RS Pura CHC | Aspirators (Suction Machine) | Anand surgical industries | LABOUR ROOM/GROUND FLOOR
71 | RS Pura CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Labovision | Lab
72 | RS Pura CHC | Aspirators (Suction Machine) | NA | Emergency 2
73 | RS Pura CHC | Light Sources, Fiberoptic (Light Source) | Divine Meditech pvt ltd | OT
74 | RS Pura CHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | NA | Dental
75 | RS Pura CHC | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | NA | Central Lab/Ground Floor
76 | RS Pura CHC | Sterilizing Units(Instrument Sterilizer) | NA | Emergency
77 | RS Pura CHC | View Boxes, X-Ray (X ray Film viewer) | NA | RADIOLOGY
78 | RS Pura CHC | View Boxes, X-Ray (X ray Film viewer) | NA | OPD
79 | RS Pura CHC | Tables, Operating Electrical (OT Table Electrical) | Staan biomedical engineering p | OT
80 | RS Pura CHC | Analyzers, Laboratory, Hematology, Cell Counting, Automated, 3 Part ( 3part blood Cell Counter) | Horiba Medical | LAB / GROUND FLOOR
81 | RS Pura CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Emergency Ward
82 | RS Pura CHC | Stimulators, Electrical, IFT - 4 Channel ( 4 Channel IFT ) | Esteem Industries Inc | 1 Physiotherapy / Ground floor
83 | RS Pura CHC | Radiographic Units, Dental, Extraoral (Dental X Ray) | Confident dental equipment | Dental
84 | RS Pura CHC | Refrigerators, Laboratory (Lab refrigerator) | NA | Lab
85 | RS Pura CHC | Sterilizing Units Glass Bead (Glass bead Sterilizer) | Confident dental equipment | Dental
86 | RS Pura CHC | Radiographic/Fluoroscopic Systems, General-Purpose -300 mA (General X Ray - 300mA) | Gme | G. Floor - X-Ray
87 | RS Pura CHC | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | 1St Floor - Store
88 | RS Pura CHC | Scales, Infant, Mechanical (Infant wieghing machine) | NA | LABOUR ROOM/GROUND FLOOR
89 | RS Pura CHC | Refrigerators, Laboratory (Lab refrigerator) | LLOYD | 1st Floor- Labour Room
90 | RS Pura CHC | Monitoring Systems, Physiologic with 7 Parameters (7 Para Patient Monitor) | MBS INDIA | Ot 2nd floor
91 | RS Pura CHC | Tables, Operating Electrical (OT Table Electrical) | Confident dental equipment | Ot 2nd floor
92 | RS Pura CHC | Scanning system, ultrasonic, general purpose, color Doppler (Color Doppler) | Esaote | Ground Floor - Ultrasound Room
93 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NA | OT
94 | RS Pura CHC | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | B.M.O OFFICE/1ST FLOOR
95 | RS Pura CHC | Anesthesia Units Work Station (Anesthesia work station) | Avasarala technologies ltd | OT
96 | RS Pura CHC | Anesthesia Units Work Station (Anesthesia work station) | Avasarala technologies ltd | OT
97 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | OT
98 | RS Pura CHC | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd. | 2nd Floor-Covid Ward
99 | RS Pura CHC | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd | 2nd Floor-Covid Ward
100 | RS Pura CHC | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd. | 2nd Floor-Covid Ward
101 | RS Pura CHC | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd | 2nd Floor-Covid Ward
102 | RS Pura CHC | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd. | 2nd Floor-Covid Ward
103 | RS Pura CHC | Intraoral RVG Sensor | Dentsply Sirona | Dental Section
104 | RS Pura CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Longlife | GYANE OPD
105 | RS Pura CHC | Ventilator Intensive care ( PM CARE ) | Bharat Electronics Ltd | Emergency 2
106 | RS Pura CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Vital | 1ST FLOOR LABOUR ROOM
107 | RS Pura CHC | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Contec | 1st Floor- Labour Room
108 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | EMERGENCY WARD / GROUND FLOOR
109 | RS Pura CHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Kohinoor | OPD
110 | RS Pura CHC | Tables, Operating Hydraulic (OT Table Hydraulic) | GALAXY INDIA | OT
111 | RS Pura CHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Confident Dental Equipment Ltd | DENTAL SECTION
112 | RS Pura CHC | Tables, Operating Electrical (OT Table Electrical) | NA | OT
113 | RS Pura CHC | Sterilizing Units, Steam (Autoclave Vertical) | NA | OT
114 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | BPL | ICU
115 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | BPL | OT
116 | RS Pura CHC | Sterilizing Units, Steam (Autoclave Vertical) | NA | OT
117 | RS Pura CHC | Sterilizing Units, Steam (Autoclave Vertical) | NA | OT
118 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | BPL | ICU
119 | RS Pura CHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | OPD
120 | RS Pura CHC | Lights, Surgical, 2 Dome, Halogen (2 Dome Halogen OT Light) | Confident dental equipment | OT
121 | RS Pura CHC | Sterilizing Units, Steam (Autoclave Vertical) | NA | OT
122 | RS Pura CHC | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NAT Steel | Ot 2nd floor
123 | RS Pura CHC | Sterilizing Units, Steam,Horizontal (Autoclave Horizontal) | NAT Steel | Ot 2nd floor
124 | RS Pura CHC | Electrosurgical Units (Cautery Machine) | Medichem Electronics | OT
125 | RS Pura CHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | MCH
126 | RS Pura CHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Haier | MCH
127 | RS Pura CHC | Electrocardiographs, Single-Channel ( Single Channel ECG ) | BPL | Emergency Ward
128 | RS Pura CHC | Electrocardiographs, Single-Channel ( Single Channel ECG ) | BPL | OPD
129 | RS Pura CHC | Electrocardiographs, Three-Channel ( 3 Channel ECG) | BPL | OPD
130 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | OT
131 | RS Pura CHC | Oximeters, Pulse, tabletop(Tabletop Pulse Oximeter) | Riransa Inc. Heath care P.ltd | OT
132 | RS Pura CHC | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | Lab
133 | RS Pura CHC | Baths, Water, Laboratory (Water Bath) | NA | Lab
134 | RS Pura CHC | Incubators, Test Tube (Lab Incubator) | Tempstar | Lab
135 | RS Pura CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NA | OT
136 | RS Pura CHC | Lights, Surgical - 2 Dome - LED(2 Dome LED Surgical OT Light) | Cognate India | OT
137 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | BPL | Emergency Ward
138 | RS Pura CHC | Sterilizing Units(Instrument Sterilizer) | NA | Dental
139 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | LONGFIAN SCITECH CO.LTD | 2nd Floor-Covid Ward
140 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | BPL | ICU
141 | RS Pura CHC | Oxygen Concentrators (Oxygen Concentrator) | BPL | ICU
142 | RS Pura CHC | Anesthesia Units, Boyles (Boyles Apparatus) | Boc India Ltd | OT
143 | RS Pura CHC | Anesthesia Units, Boyles (Boyles Apparatus) | NA | OT
144 | RS Pura CHC | Analyzers, Laboratory, Urine, Semiautomated ( Semi Auto Urine Analyzer) | Siemens | Lab
145 | RS Pura CHC | Scanning systems, ultrasonic, Portable (Portable ultrasound Scanner) | BPL | OPD
146 | RS Pura CHC | Sterilizing Units, Ultraviolet ( UV Chamber) | Bestodent India Pvt. Ltd | Dental Dept