## My Sheet
Sl. No | Hospital | ME Name | Manufacturer | Department
412 | Bhourcamp, Sohanjana PHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Delivery room
413 | Bhourcamp, Sohanjana PHC | Oximeters, Pulse, tabletop(Tabletop Pulse Oximeter) | BISTOS | General Ward
414 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | NA | MCCH Section
415 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | NA | OPD
416 | Bhourcamp, Sohanjana PHC | Radiographic Units, Dental, Extraoral (Dental X Ray) | Technomac | DENTAL SECTION/ GROUND FLOOR
417 | Bhourcamp, Sohanjana PHC | Oxygen Concentrators (Oxygen Concentrator) | SSMED | STORE ROOM, 1ST FLOOR
418 | Bhourcamp, Sohanjana PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVIHEALTH CARE PVT LTD | STORE ROOM, 1ST FLOOR
419 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Life care | STORE ROOM, 1ST FLOOR
420 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | STORE ROOM, 1ST FLOOR
421 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Ground Floor -MCH
422 | Bhourcamp, Sohanjana PHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Delivery room
423 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | STORE ROOM, 1ST FLOOR
424 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | STORE ROOM, 1ST FLOOR
425 | Bhourcamp, Sohanjana PHC | Nebulizers, Nonheated (Nebulizer) | Nidek Medical India | GEN WARD
426 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | MCH SECTION
427 | Bhourcamp, Sohanjana PHC | Nebulizers, Nonheated (Nebulizer) | NA | OPD
428 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
429 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
430 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Electronic (Electronic BP Machine) | Accusure | MCH SECTION
431 | Bhourcamp, Sohanjana PHC | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | LABORATORY
432 | Bhourcamp, Sohanjana PHC | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | kamineni life sciences | LAB
433 | Bhourcamp, Sohanjana PHC | Radiographic Units, Mobile(Mobile X Ray -100 mA) | Allengers | RADIOLOGY
434 | Bhourcamp, Sohanjana PHC | Aspirators (Suction Machine) | Anand surgical industries | LABOUR ROOM
435 | Bhourcamp, Sohanjana PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | Delivery room
436 | Bhourcamp, Sohanjana PHC | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcare | WARD/GROUND FLOOR
437 | Bhourcamp, Sohanjana PHC | Infusion Pumps, Syringe (Syringe Pump) | Riransa Inc. Heath care P.ltd | Delivery room
438 | Bhourcamp, Sohanjana PHC | Incubators, Test Tube (Lab Incubator) | Coslab India | LAB SECTION
439 | Bhourcamp, Sohanjana PHC | Refrigerators, Laboratory (Lab refrigerator) | Whirlpool | LAB SECTION
440 | Bhourcamp, Sohanjana PHC | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | MCH SECTION
441 | Bhourcamp, Sohanjana PHC | Oximeters, Pulse, tabletop(Tabletop Pulse Oximeter) | BISTOS | General Ward
442 | Bhourcamp, Sohanjana PHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | MCH SECTION
443 | Bhourcamp, Sohanjana PHC | Centrifuges, Tabletop (Centrifuge) | Alpha technologies | LAB
444 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
445 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
446 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
447 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | 1St Floor - General Ward
448 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Elkometer | OPD
449 | Bhourcamp, Sohanjana PHC | Scales, Infant, Mechanical (Infant wieghing machine) | Kohinoor | LABOUR ROOM
450 | Bhourcamp, Sohanjana PHC | Nebulizers, Nonheated (Nebulizer) | Entero Healthcare Solution | WARD/GROUND FLOOR
451 | Bhourcamp, Sohanjana PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
452 | Bhourcamp, Sohanjana PHC | Sterilizing Units(Instrument Sterilizer) | NA | LABOUR ROOM
453 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | NA | OPD
454 | Bhourcamp, Sohanjana PHC | Centrifuges, Tabletop (Centrifuge) | NA | LAB SECTION
455 | Bhourcamp, Sohanjana PHC | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | LAB SECTION
456 | Bhourcamp, Sohanjana PHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Elkometer | OPD
457 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | DENTAL GROUND FLOOR
458 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | NA | LAB SECTION
459 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
460 | Bhourcamp, Sohanjana PHC | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Equal | OPD
461 | Bhourcamp, Sohanjana PHC | Sterilizing Units(Instrument Sterilizer) | NA | LABOUR ROOM
462 | Bhourcamp, Sohanjana PHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Trisco | DENTAL SECTION
463 | Bhourcamp, Sohanjana PHC | Sterilizing Units(Instrument Sterilizer) | NA | OPD
464 | Bhourcamp, Sohanjana PHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | OPD
465 | Bhourcamp, Sohanjana PHC | Sterilizing Units(Instrument Sterilizer) | Max Life | LABOUR ROOM
466 | Bhourcamp, Sohanjana PHC | Microscopes, Light, Laboratory (Binocular Microscope) | NA | OPD
467 | Bhourcamp, Sohanjana PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | Delivery room
468 | Bhourcamp, Sohanjana PHC | Oxygen Concentrators (Oxygen Concentrator) | Equinox | NA
469 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | STORE ROOM, 1ST FLOOR
470 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | WARD 1
471 | Bhourcamp, Sohanjana PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVIHEALTH CARE PVT LTD | STORE ROOM, 1ST FLOOR
472 | Bhourcamp, Sohanjana PHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVIHEALTH CARE PVT LTD | STORE ROOM, 1ST FLOOR
473 | Bhourcamp, Sohanjana PHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek | LABOUR ROOM-Ground Floor
474 | Bhourcamp, Sohanjana PHC | Oxygen Concentrators (Oxygen Concentrator) | SSMED | STORE ROOM, 1ST FLOOR
475 | Bhourcamp, Sohanjana PHC | Sterilizing Units(Instrument Sterilizer) | NA | Store
476 | Bhourcamp, Sohanjana PHC | Cutters, Syringe/Needle (Syringe cutter) | NA | LAB SECTION
477 | Bhourcamp, Sohanjana PHC | Sterilizing Units(Instrument Sterilizer) | NA | Store - Store
2953 | NTPHC Makwal | Oxygen Concentrators (Oxygen Concentrator) | SSMED | Ground Floor -MCH
2954 | NTPHC Makwal | Oxygen Concentrators (Oxygen Concentrator) | Sanrai International | Ground Floor -MCH
2955 | NTPHC Makwal | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Camry | OPD/GROUND FLOOR
2956 | NTPHC Makwal | Scales, Infant, Mechanical (Infant wieghing machine) | Docbel barun | MCH SECTION
2957 | NTPHC Makwal | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Ground Floor -MCH
2958 | NTPHC Makwal | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | MCH SECTION
2959 | NTPHC Makwal | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | MCH SECTION
2960 | NTPHC Makwal | Sterilizing Units(Instrument Sterilizer) | NA | Ground Floor- MCH
2961 | NTPHC Phallain | Scales, Infant, Mechanical (Infant wieghing machine) | Docbel barun | M.C.H SECTION
2962 | NTPHC Phallain | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Diamond | M.C.H SECTION
2963 | NTPHC Phallain | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | M.C.H SECTION
3005 | NTPHC Chatha | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Crown | MCH Section
3006 | NTPHC Chatha | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | MCH Section
3007 | NTPHC Chatha | Sterilizing Units(Instrument Sterilizer) | NA | MCH Section
3008 | NTPHC Chatha | Scales, Infant, Digital (Digital Infant Scale) | Equal | MCH Section
3009 | NTPHC Chatha | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | MCH Section
3010 | NTPHC Chatha | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | OPD/Casualty
3011 | NTPHC Chatha | Oxygen Concentrators (Oxygen Concentrator) | Devilbiss Healthcare | OPD/Casualty
3012 | NTPHC Chatha | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | MCH Section
3013 | NTPHC Chatha | Oxygen Concentrators (Oxygen Concentrator) | SS Medical System | OPD/Casualty
3014 | NTPHC Chatha | Cutters, Syringe/Needle (Syringe cutter) | Microsil | MCH Section
3015 | NTPHC Chatha | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | MCH Section
3119 | NTPHC Lower Gadigarh | Scales, Patient, Floor, Adult,Digital(Digital Weighing Machine | Venus | OPD
3120 | NTPHC Lower Gadigarh | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Suvarna | OPD
3121 | NTPHC Lower Gadigarh | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
3122 | NTPHC Lower Gadigarh | Cutters, Syringe/Needle (Syringe cutter) | Microsil | OPD
3123 | NTPHC Lower Gadigarh | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
3124 | NTPHC Lower Gadigarh | Analyzers, Laboratory, Body Fluids, Glucose (Glucometer) | Accusure | OPD
3125 | NTPHC Lower Gadigarh | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | OPD
3126 | NTPHC Lower Gadigarh | Sphygmomanometers, Mercury (Mercury BP Machine) | MCP | OPD
3127 | NTPHC Lower Gadigarh | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
3128 | NTPHC Lower Gadigarh | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | OPD
3129 | NTPHC Lower Gadigarh | Scales, Infant, Mechanical (Infant wieghing machine) | Docbel barun | OPD
3130 | NTPHC Lower Gadigarh | Scales, Infant, Mechanical (Infant wieghing machine) | Kohinoor | OPD
3259 | NTPHC Raipur Satwari | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Camry | MCH SECTION
3260 | NTPHC Raipur Satwari | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Vital | 1st floor-Mch
3261 | NTPHC Raipur Satwari | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | MCH SECTION
3262 | NTPHC Raipur Satwari | Sterilizing Units(Instrument Sterilizer) | NA | MCH SECTION
3263 | NTPHC Raipur Satwari | Oxygen Concentrators (Oxygen Concentrator) | MEDOXY | GENERAL OPD
3264 | NTPHC Raipur Satwari | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | MCH SECTION
3265 | NTPHC Raipur Satwari | Sphygmomanometers, Aneriod(Aneroid BP Machine) | NA | MCH SECTION
3266 | NTPHC Raipur Satwari | Cutters, Syringe/Needle (Syringe cutter) | Microsil | MCH SECTION
4204 | Sohanjana CHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | Ground Fl - Labour Room
4205 | Sohanjana CHC | Stimulators, Electrical (Nerve Stimulator) | NA | Physiotherapy
4206 | Sohanjana CHC | Sterilizing Units(Instrument Sterilizer) | NA | Sterlization
4207 | Sohanjana CHC | Sterilizing Units Glass Bead (Glass bead Sterilizer) | Confident dental equipment | Dental
4208 | Sohanjana CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Radical | Lab
4209 | Sohanjana CHC | Sterilizing Units(Instrument Sterilizer) | NA | Causality
4210 | Sohanjana CHC | Sterilizing Units(Instrument Sterilizer) | Atlas surgical company | Gyane
4211 | Sohanjana CHC | Tables, Operating Hydraulic (OT Table Hydraulic) | Microland India | OT
4212 | Sohanjana CHC | Sterilizing Units(Instrument Sterilizer) | NA | Sterlization
4213 | Sohanjana CHC | Digital Imaging Systems, Computed Radiography-Single Slot (1 Slot CR Machine) | Fujifilm corporation | X-RAY Section
4214 | Sohanjana CHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Godrej & Boyce Mfg. Co. Ltd | MCH SECTION
4215 | Sohanjana CHC | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Vital-sign-Medidevices-pvt ltd | Ground Floor - OT
4216 | Sohanjana CHC | Scales, Infant, Mechanical (Infant wieghing machine) | NA | SNCU
4217 | Sohanjana CHC | Refrigerators, Laboratory (Lab refrigerator) | LG | Lab
4218 | Sohanjana CHC | Electrocardiographs, Three-Channel ( 3 Channel ECG) | BPL | ECG Room
4219 | Sohanjana CHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | WARD
4220 | Sohanjana CHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | WARD
4221 | Sohanjana CHC | Oxygen Concentrators (Oxygen Concentrator) | Microtek Technology | Ward
4222 | Sohanjana CHC | Analyzers, Laboratory, Body Fluids, Electrolyte, Coulometric (Colorimeter) | Oxford Lab instruments | Casualty
4223 | Sohanjana CHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Ramon Surgical Company | Immunization
4224 | Sohanjana CHC | Chairs, Examination/Treatment, Dentistry (Dental Chair) | Confident dental equipment | Dental
4225 | Sohanjana CHC | Monitoring Systems, Physiologic with 7 Parameters (7 Para Patient Monitor) | MBS INDIA | G. Floor - Operation Theatre
4226 | Sohanjana CHC | Ventilators, BIPAP (BIPAP Machine) | DECK MOUNT ELECTRONICS PVT LTD. | Store ground floor
4227 | Sohanjana CHC | Traction Unit (Traction Unit) | NA | PHYSIOTHERAPY GROUND FLOOR
4228 | Sohanjana CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Lifeline Medical Devices | ground floor-store
4229 | Sohanjana CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Longlife | ground floor-store
4230 | Sohanjana CHC | Oximeters, Pulse, tabletop(Tabletop Pulse Oximeter) | Niscomed | Ground Floor-Medicine OPD
4231 | Sohanjana CHC | Analyzers, Laboratory, Clinical chemistry, Manual (Semi auto analyzer) | Trivitron Health Care PVT LTD | Labortary ground floor
4232 | Sohanjana CHC | Radiographic/Fluoroscopic Systems, General-Purpose -300 mA (General X Ray - 300mA) | BPL | X-RAY Section
4233 | Sohanjana CHC | Refrigerators, Laboratory (Lab refrigerator) | Electrolux | Drug Store
4234 | Sohanjana CHC | Scales, Adult, Floor,Mechanical (Adult floor Mechanical Weighing machine) | Kohinoor | Immunization
4235 | Sohanjana CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | LABOUR ROOM-Ground Floor
4236 | Sohanjana CHC | Aspirators (Suction Machine) | NA | Causality
4237 | Sohanjana CHC | Lights, Surgical, 2 Dome, Halogen (2 Dome Halogen OT Light) | NA | OT
4238 | Sohanjana CHC | Sterilizing Units, Steam, B- Type ( B Type Autoclave ) | Confident dental equipment | Dental
4239 | Sohanjana CHC | Sterilizing Units, Steam, Tabletop(13 Litre Table top) | Geeta Industries | Dental
4240 | Sohanjana CHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | DENTAL SECTION/ GROUND FLOOR
4241 | Sohanjana CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Vital | STORE GROUND FLOOR
4242 | Sohanjana CHC | Electrosurgical Units (Cautery Machine) | Divlabs Health care Pvt Ltd | OT
4243 | Sohanjana CHC | Centrifuges, Tabletop (Centrifuge) | Laby Instruments | Lab
4244 | Sohanjana CHC | Centrifuges, Tabletop (Centrifuge) | Remi | Lab
4245 | Sohanjana CHC | Freezers Vaccine-120 L (120L -Vaccine Freezer) | Vestfrost | Immunization
4246 | Sohanjana CHC | Defibrillators, External, Manual (Defibrillator) | Mediana | OT, GROUND FLOOR
4247 | Sohanjana CHC | Refrigerators, Blood Bank (Blood bank Refrigerator) | Remi | LAB
4248 | Sohanjana CHC | Refrigerators, Ice Lined-200L ( 200L ILR ) | Vestfrost | Immunization
4249 | Sohanjana CHC | Refrigerators, Ice Lined-70L ( 70L ILR ) | Haier | Immunization
4250 | Sohanjana CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Radical | LAB
4251 | Sohanjana CHC | Baths, Water, Laboratory (Water Bath) | NA | Lab
4252 | Sohanjana CHC | Incubators, Test Tube (Lab Incubator) | NA | Lab
4253 | Sohanjana CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | S.S technomed | SNCU
4254 | Sohanjana CHC | Oxygen Concentrators (Oxygen Concentrator) | Airsep Corporation | Casualty
4255 | Sohanjana CHC | Oxygen Concentrators (Oxygen Concentrator) | Nidek Medical India | SNCU
4256 | Sohanjana CHC | Monitoring Systems, Physiologic with 5 Parameters (5 Para Patient Monitor) | Medion health care | OT
4257 | Sohanjana CHC | Aspirators (Suction Machine) | NA | OT
4258 | Sohanjana CHC | Radiographic Units, Dental, Extraoral (Dental X Ray) | Confident dental equipment | Dental
4259 | Sohanjana CHC | Radiographic Units, Dental, Extraoral (Dental X Ray) | Platinum rays | Dental
4260 | Sohanjana CHC | Anesthesia Units, Boyles (Boyles Apparatus) | NA | OT
4261 | Sohanjana CHC | Ovens, Drying (Hot Air Oven) | Microsil | Lab
4262 | Sohanjana CHC | Analyzers, Laboratory, Clinical chemistry, Manual (Semi auto analyzer) | Micro lab | GENERAL LAB
4263 | Sohanjana CHC | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | Lab
4264 | Sohanjana CHC | Analyzers, Laboratory, Hematology, Hemoglobin (HB Analyzer) | Hemocue | Lab
4265 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Prolix supreme surgico | LAB
4266 | Sohanjana CHC | Phototherapy Units, Ultraviolet,CFL (CFL Infant Phototherapy) | NA | SNCU
4267 | Sohanjana CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Immunization
4268 | Sohanjana CHC | Sterilizing Units(Instrument Sterilizer) | NA | Labour room
4269 | Sohanjana CHC | Aspirators (Suction Machine) | NA | SNCU
4270 | Sohanjana CHC | Nebulizers, Nonheated (Nebulizer) | Bio-plus | Casualty
4271 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Novaphon | store
4272 | Sohanjana CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Store
4273 | Sohanjana CHC | Nebulizers, Nonheated (Nebulizer) | Entero Healthcare Solution | Ground Fl - Labour Room
4274 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Elite surgical industries | STORE/GROUND FLOOR
4275 | Sohanjana CHC | Aspirators (Suction Machine) | NA | Labour room
4276 | Sohanjana CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Lab
4277 | Sohanjana CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Causality
4278 | Sohanjana CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | MCH
4279 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | STORE/GROUND FLOOR
4280 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | STORE/GROUND FLOOR
4281 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Elite surgical industries | STORE/GROUND FLOOR
4282 | Sohanjana CHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | GENERAL STORE/GROUND FLOOR
4283 | Sohanjana CHC | Analyzers, Laboratory, Urine, Semiautomated ( Semi Auto Urine Analyzer) | Siemens | Lab
4284 | Sohanjana CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Labovision | Lab
4285 | Sohanjana CHC | Scanning Systems, Ultrasonic, General-Purpose ( Ultrasound Scanner ) | Toshiba | Immunization
4286 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Pioneer | STORE/GROUND FLOOR
4287 | Sohanjana CHC | Sphygmomanometers, Aneriod(Aneroid BP Machine) | Vital | STORE/GROUND FLOOR
4288 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Bhasin Sons pvt Ltd | STORE/GROUND FLOOR
4289 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Namatt | STORE/GROUND FLOOR
4290 | Sohanjana CHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | GYANE LABOUR ROOM/GROUND FLOOR
4291 | Sohanjana CHC | Oxygen Concentrators (Oxygen Concentrator) | Longfian Scitech Co. Ltd | Casuality/Ground Floor
4292 | Sohanjana CHC | Lights, Surgical - 1 Dome - LED(1 Dome LED Surgical OT Light) | Confident dental equipment | Ot ground floor
4293 | Sohanjana CHC | Refrigerators, Ice Lined-150L ( 150L ILR ) | Godrej | MCH
4294 | Sohanjana CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Store
4295 | Sohanjana CHC | Nebulizers, Nonheated (Nebulizer) | Infinity Mediquip India | STORE GROUND FLOOR
4296 | Sohanjana CHC | Laryngoscopes, Rigid (Laryngoscope) | NA | STORE GROUND FLOOR
4297 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | NA | STORE GROUND FLOOR
4298 | Sohanjana CHC | Oxygen Concentrators (Oxygen Concentrator) | BPL | Causality
4299 | Sohanjana CHC | Oximeters, Pulse, tabletop(Tabletop Pulse Oximeter) | Riransa Inc. Heath care P.ltd | OT,GROUND FLOOR
4300 | Sohanjana CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | NA | SNCU
4301 | Sohanjana CHC | Cutters, Syringe/Needle (Syringe cutter) | Microsil | Dental
4302 | Sohanjana CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Ajay optik India | LAB
4303 | Sohanjana CHC | Lights, Surgical, Mobile Halogen (Halogen Mobile OT Light) | NA | Ot ground floor
4304 | Sohanjana CHC | Microscopes, Light, Laboratory (Binocular Microscope) | Quasmo | Lab
4305 | Sohanjana CHC | Sterilizing Units(Instrument Sterilizer) | NA | Sterlization
4306 | Sohanjana CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Niscomed | ground floor-store
4307 | Sohanjana CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Lifeline Medical Devices | ground floor-store
4308 | Sohanjana CHC | Sterilizing Units, Ultraviolet ( UV Chamber) | Bestodent | Ground Floor-Dental OPD
4309 | Sohanjana CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Lifeline Medical Devices | General Store-Ground Floor
4310 | Sohanjana CHC | Warming Units, Patient, Radiant, Infant (Radiant Warmer) | Neotech Medical pvt.ltd | Labour room
4311 | Sohanjana CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Lifeline Medical Devices | ground floor-store
4312 | Sohanjana CHC | Sphygmomanometers, Aneroid(Aneroid BP Machine) | Lifeline Medical Devices | Ground Floor-Medicine OPD
4313 | Sohanjana CHC | Sterilizing Units(Instrument Sterilizer) | NA | Sterlization
4314 | Sohanjana CHC | Sphygmomanometers, Mercury (Mercury BP Machine) | Elite surgical industries | STORE/GROUND FLOOR
4315 | Sohanjana CHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | Ground Fl - Labour Room
4316 | Sohanjana CHC | Sterilizing Units(Instrument Sterilizer) | NA | Dental
4317 | Sohanjana CHC | Phototherapy Units, Ultraviolet, LED,(LED Infant Phototherapy) | AVI health care Pvt Ltd | Store